## Slide 1
Michael Waters, Ph.D.
SHIELDx Team Lead/OIR RWE Representative
Office of In Vitro Diagnostics and Radiological Health (OIR)
Center for Devices and Radiologic Health (CDRH)
Food and Drug Administration (FDA)
Systemic Harmonization and Interoperability Enhancement for Lab Data
Enabling Real-Time Epidemiology for Infectious Diseases Through Interoperable IVD Data
SHIELDx- putting IVD data standards to work
Current/Next Steps

## Slide 2
IVDs Provide Traceability, Context and Perspective
in vitro diagnostics (IVDs):
provide objective evidence aid in the diagnosis and treatment of a patient by a trained clinician.
generate data that gets populated in electronic healthcare records (EHRs), useful for:
  Epidemiology/outbreak monitoring
  Healthcare innovation
  Decision support/knowledge generation
  Public health reporting
  Laboratory cost savings
  Signal detection
  more

## Slide 3
Server
Semantic Interoperability is Essential to AMR Surveillance
DATA INTEROPERABILITY NEEDED!
RWE must be understood and reliable to be useful
?
?
?
?
?
?

## Slide 4
SHIELD Mission:
Accelerate lab data digitization; improve quality & interoperability of IVD data to:
Improve access to high-quality RWE for regulatory decisions,
reduce burdens to the healthcare ecosystem,
promote innovative 21st century solutions to public health challenges,
build NEST (diagnostic arm).
SHIELD Stakeholders (>50 institutions engaged):
FDA (CDRH, CDER, CBER), CDC, NIH, ONC, CMS, VA, CAP, IVD Manufacturers, EHR Vendors, Laboratories, Standards Developers, PEW Charitable Trusts, NEST/MDIC, Academia
Systemic Harmonization and Interoperability Enhancement for Lab Data
How? – SHIELD employs consensus processes to:
leverage existing lab data standards and infrastructure,
develop standards/tools to fill lab data interoperability gaps and
expedite ubiquitous adoption & implementation of SHIELD infrastructure.

## Slide 5
Standards Empower Lab Data Utility
W/Standards: Quality in – Quality out.
W/O Standards: Garbage in – Garbage out
Plan:
Government supports manufacturers/industry to provide vetted and harmonized descriptive IVD codes to labs to improve utility for consumers.
Manufacturers
Context: An IVD asks a question of a specimen to get an answer.
Labs/Providers
Structured Transfer
LIS/EHR
Data Association
Patient Test Data
  IVD (Code Standard)
  Who’s Asking (UDI)
  Question (LOINC)
  Answer (SNOMED-CT)
Data Recipients
e.g., Research, Regulatory Decisions,
Outbreak Signals,
Clinical Decision Support,
Meaningful Use,
etc.
Data Utility
https://loinc.org/guides/micro/
http://ivdconnectivity.org/livd/

## Slide 6
Any similar coding system for characterizing IVDs (e.g., LOINC) is voluntary and will not be required or reviewed by FDA
  (distinct from the required FDA-accredited UDI system*)
FDA strongly encourages use of FDA-recognized consensus standard structured data format to communicate IVD descriptive coding.
  Distribution of LOINC coding by manufacturers that suggests an unapproved/uncleared Indication for Use (i.e., off-label use) could result in the device being considered adulterated and/or misbranded.
  Laboratories and/or other users must fulfill their obligations, including (but not limited to) any statutes, regulations, and validation procedures that must be complied with when making the results from the off-label uses available to those requesting the test.
A 3rd party resource for codes (and coding) could aid in harmonization efforts (e.g., Regenstrief)
FDA Perspective on LOINC for IVDs
*https://www.fda.gov/MedicalDevices/DeviceRegulationandGuidance/UniqueDeviceIdentification/
Notes: Summary from the last IVD roundtable.

## Slide 8
Coding the IVD Message
Each IVD asks a ‘question’ of a specimen to get an ‘answer’.
In vitro diagnostics (IVDs) products are… intended for use in diagnosis of disease or other conditions... 21 CFR 809.3
2) Ask Question:
Does the nasopharyngeal swab contain:
3) Provide Answer:
1) Collect and prepare a specimen (nasopharyngeal swab).
Device Identifier:
00382902560715
influenza A antigens?
LOINC Code: 43874-7
influenza B antigens?
LOINC Code: 43895-2
Influenza A antigens: Detected;
SNOMED-CT: 260373001
Influenza B antigens: Not detected
SNOMED-CT: 260415000

## Slide 9
Mapping IVDs from Different Manufacturers
Same IVD Type
LOINC Mapping Manual
Example List
Helpdesk Support
43874-7
43895-2
Influenza virus A Antigen in Nasopharynx
Influenza virus B Antigen in Nasopharynx
RELMA® LOINC Mapping Tool
Same IVD Type
Unambiguous LOINC Codes

## Slide 10
LAW
Digital Format for IVD Vendors to Provide LOINC
IVD Industry Connectivity Consortium
LIVD
LOINC
UDI
SNOMED-CT
Digital Format for Publication of LOINC to Vendor IVD Test Results (LIVD)
Laboratory Analytical Workflow (LAW)
FHIR
Profile
Laboratory Information System
(LIS)
LOINC (Logical Observations Identifiers Names and Codes)
Coding Standard Nodes
SNOMED-CT (Systematized NOmenclature of MEDicine – Clinical Terms)
UDI (Unique Device Identification System)
Question
Answer
Who’s Asking
Role

## Slide 11
Digital Format for IVD Vendors to Provide LOINC
IVD Industry Connectivity Consortium
LAW
LIVD
LOINC
UDI
SNOMED-CT
Digital Format for Publication of LOINC to Vendor IVD Test Results (LIVD)
Laboratory Analytical Workflow (LAW)
FHIR
Profile
Laboratory Information System
(LIS)
LOINC (Logical Observations Identifiers Names and Codes)
Coding Standard Nodes
SNOMED-CT (Systematized NOmenclature of MEDicine – Clinical Terms)
UDI (Unique Device Identification System)
Question
Answer
Who’s Asking
Role

## Slide 12
Pre-Process & Automation
Laboratory
LIMS/LIS Underlying Standards
MACP, MLCP, Specimen DAM
HL7 V2 Messages, LOINC, SNOMED CT, UCUM, et al
LOINC
SNOMED-CT
UCUM
IVD
Industry
LDA
LBL
LSH
LST
etc.
eDOS now electronic and computable
Orders now standardized, harmonized with EHR requirements
New LRI with harmonized profiles
LIS/ LIMS
eDOS
Test Catalog
LAW
Vendor 2
Analyzer 2
LIVD
LIVD
Vendor 1
LAW
Analyzer 1
LAW
Vendor 3
Analyzer 3
LIVD
LAW
…
…
LIVD
Providers
Diagnostic Device Information Flow – Upgrade!
LOI
Orders
LRI
Results