## Slide 1: Standard Coding for ARLN
Riki Merrick
Terminologist
APHL

## Slide 2: Identify/create LOINC codes for all relevant tests and SNOMED codes for pathogens and corresponding test results for all AR pathogens and AST, and a process for timely establishment of these codes.
There is a process for submission to Regenstrief (LOINC) and SNOMED International (SNOMED CT)
APHL can assign PLT codes for tests and PLR codes for results and organisms, that can be used right away, while submission is underway
LOINC is about 100 days for turn around, published 2x/year
SNOMED CT published 2x year, and there are cut-off deadlines to make the releases
For both can reach out to contact and get something expedited, for PH concerns for example
Meds in US are coded in RX Norm, though SNOMED CT also has some products and has the ingredients (substance)

## Slide 3: Develop processes for ensuring that LOINC/SNOMED codes are available for non-proprietary tests.
Not quite sure what the request is here – process would be the same as on previous slide
Regenstrief requires submission of package insert or SOP as well as example result reports
SNOMED International requires citations in literature / nomenclature publications; can also be documented in another standard in order to be added, as SNOMED CT needs context to properly model the terms and find the right level in the applicable hierarchy

## Slide 4: Encourage CLSI or FDA to require manufacturers to recommend a standard three-letter antibiotic code when submitting new compounds for review. CLSI or FDA should also submit a letter antibiotic code when submitting new compounds for review. CLSI or FDA should also submit a request to the Regenstrief Institute for the creation of relevant LOINC codes for new compounds under review.
Need some information about the rational to have a 3 letter antibiotic code (for consistency in LOINC shortnames, for use in Rx Norm?
Agreed that it would be nice to have LOINC requests at the time of FDA submission, so that manufacturers of new test kits can provide appropriate LOINCs to customers

## Slide 5: Develop a standardized approach for submitting for LOINC codes for new/emergent pathogens.
Unsure how this process would be different from slide 2 – maybe use the emergency approval by specifically reaching out to contacts at Regenstrief / SNOMED International?

## Slide 6: Support efforts to routinely include standard codes in package inserts for proprietary tests (e.g. SHIELD)
It is unlikely that vendors will include LOINCs (or SNOMED CT codes) in their package inserts, as that would result in re-application, should anything change
Vendors are working via the SHIELD initiative to provide LOINCs to their customers in a more standard JSON format (LIVD), which is being transformed into HL7 FHIR representation
LIVD: https://ivdconnectivity.org/livd/
LIVD FHIR profile: http://hl7.org/fhir/uv/livd/2018Sep/index.html

## Slide 7: Routinely include LOINC/SNOMED code recommendations in laboratory guidance documents (e.g. CLSI)
APHL has been working with some CDC programs (e.g. HIV) to reach out to vendors when new test kits are being submitted, to help ensure that electronic reporting with standard codes is considered at time of development, and not as afterthought
SHIELD effort is also working on that
CLSI documents are often at the higher level – for example the new AUTO 16 for lab automation is recommending use of LOINC, but would not include specific test kits etc.
SHIELD: http://www.hl7.org/documentcenter/public_temp_2DF8D779-1C23-BA17-0CBD5021F8F86BAC/wg/healthcaredevices/181001_SHIELD_HL7_Devices.pdf