NICU Observation Checklist

| Practice | Practice performed |  | Notes |
| --- | --- | --- | --- |
| Hand hygiene |  |  |  |
| All persons entering the unit adhere to strict handwashing (appropriate agent, warm water, attention to areas under the fingernails and between the fingers). | Yes | No |  |
| Hand hygiene is performed between contact with each infant, whether touching the infant or the infant’s environment (e.g., equipment, chart). | Yes | No |  |
| Other infection prevention |  |  |  |
| Items close to handwashing sinks are maintained at least 6-12 inches from the sink itself, so as to prevent contamination from back splash | Yes | No |  |
| Adequate space exists between infant isolettes and their dedicated equipment and other infant isolettes. | Yes | No |  |
| Dedicated equipment (e.g., ventilator, medication pumps) exists for each infant | Yes | No |  |
| Infants are not placed in front of or adjacent to storage supply counters/areas. | Yes | No |  |
| Physical separation exists between formula storage/preparation area and patient care areas. | Yes | No |  |
| Infants with GBS infection or colonization are cohorted (physical and nursing staff) in an area with minimal through-traffic. | Yes | No |  |
| In the breast milk freezer, each bottle is labeled (infant’s name, collection date/time) and placed in an infant-specific bin. | Yes | No |  |
| General cleaning, disinfection, and maintenance |  |  |  |
| All medical equipment requiring disinfection, particularly high-level disinfection (e.g., laryngoscope blades) is sent to hospital central processing. | Yes | No |  |
| Breast pump equipment is appropriately cleaned and stored between each use. |  |  |  |
| Appropriate and routine cleaning occurs, including floors, in all areas (patient care and storage areas). | Yes | No |  |
| All refrigerators and freezers used for medication, formula, or breast milk are clean and have routine maintenance performed (i.e. temperatures are monitored and recorded daily) | Yes | No |  |
| Dedicated equipment (e.g., ventilator, medication pumps) is sent to the hospital central services for appropriate disinfection when no longer needed. Boxes are not be maintained in a hospital storage areas | Yes | No |  |