Recreational Settings

Module

Recreational settings can be a source for Legionnaires’ disease (LD) due to water features like pools and hot tubs, as well as aspects of recreational facilities like campgrounds and RV parks that share similar risks to hospitality settings. (See also Hotels and Hospitality Module). Due do the risk for aerosolized water in recreational settings and the potential for complex water systems, facilities with water features can be a source of LD. Additionally, the seasonality and variability in occupancy rates in these facilities can also leave stagnant or standing water in their water systems vulnerable to Legionella growth.

Scope of Module

This module covers several potential sources related to recreational settings:

- Recreational facilities with water features

  - Pools, hot tubs, spas, water parks, amusement parks, interactive water features/misters

- Other recreational settings

  - Gyms, casinos, RV parks, campgrounds, state parks

Key Risk Factors in Recreational Settings

As noted in previous modules, water features like pools, hot tubs, and steam rooms are common features incorporated into a wide range of other settings. Although the investigation and mitigation of contaminated recreational water features may be considered a separate source in an LD outbreak, these water features contribute to the overall risk of a setting/facility becoming a source for Legionella contamination and spread. The categories of risk factors applicable to the recreational settings are:

- Sources of aerosolized water – There are many potential sources of Legionella contamination in recreational facilities with water features as well as other uses of water in recreational facilities, like showers, faucets, toilets. Recreational water facilities can be large structures like water parks and amusements parks that have complex water systems with the potential to harbor Legionella contamination in those systems. While smaller facilities may not have the same level of complexity in their water systems, they could be vulnerable to contamination if they do not receive the same degree of ongoing maintenance as larger properties.

- Building systems with cooling towers – Large recreational facilities like amusement parks, casinos, and larger gyms are likely to have complex cooling systems that include cooling towers, which if not properly maintained, can become contaminated with Legionella bacteria, and disperse it through the building’s air conditioning system. Depending on their size, office buildings, educational buildings, retail facilities, and places of worship can have one or more cooling towers. Smaller building and private residences will not have cooling towers.

- Length of stay in the facility – Because LD is associated with extended exposures to a source within a facility contaminated with Legionella bacteria, the longer a person is at the facility—as, overnight guests, employees, or otherwise spending prolonged periods in a specific setting—the greater the potential to contract LD.

- At-risk persons in the facility – Some people may have factors that pre-dispose them for acquiring LD, such as being aged 50 years and older, those who smoke, and individuals who are at higher risk of infection (e.g., have a chronic illness, respiratory disease, or a weakened immune system). Other individuals may be at risk for LD based on the amount of time they spend in a facility and exposed to Legionella contamination.

- Specific building or location features – There may be features specific to a particular building, facility, or location that increases its potential for Legionella contamination or the potential for people occupying it to be exposed. Because For example, seasonal campgrounds and RV parks with potable water systems, shower facilities, and recreational water features may be unoccupied for prolonged periods; water can become contaminated if the systems are not maintained or cleaned before they are opened for the season. Vacancy issues may also be a consideration for facilities like casinos, gyms, and amusement parks during COVID-19 as these facilities sat potentially vacant for months.

- Hybrid settings – As noted above, many other the other types of settings addressed in this toolkit frequently include a range of recreational water features in their facilities. Other recreational settings like casinos, campgrounds, and RV parks share similar risks to other hospitality settings. (See also Hotels and Hospitality Module).

Table 1 below describes each of the facility types and highlights their specific risk factors.

Key Audiences and Messages

Each community setting has key audiences for messaging about LD identification, investigation, mitigation, and prevention. Persons and organizations will require foundational information about LD as well as information tailored to their perspective in the LD event. Messaging will also evolve during the LD investigation as suspected outbreaks are confirmed and follow-up is required with affected persons and facilities. The key audiences for community settings are:

- Facility – Owners, operators, and managers are generally both the operational and legal points of contact for suspected and confirmed public health communicable disease investigations and response activities. (This should be confirmed by the law and regulations in a specific jurisdiction.) The facility is also a key source of information about guests, employees, contractors, and other persons or organizations who stayed or visited during the time period under investigation. Facility managers and employees will be required to use messaging supplied by a public health agency and provide it guests to alert them to an ongoing LD investigation. Finally, the facility owners and staff must understand the process for investigating and testing the facility’s water and cooling systems and the required mitigation measures to address the contamination. If general risk communication methods are ineffective at obtaining action by the facility, messaging about and the use of public health orders or other enforcement mechanisms will be required.

- Guests and Employees – Guests and employees must receive clear messaging about LD such the cause, sources, risk factors, and symptoms of the disease. They must also be told key information about their specific potential exposure at a facility and its timing (if known), and how to speak with their doctor about the exposure. Points of contact with the public health agency and sources for additional information should also be clearly communicated

- Healthcare Providers and Facilities – Conducting outreach to healthcare providers and targeted healthcare facilities in the community in which an LD outbreak is occurring or has occurred helps to educate them about LD and to alert them what to the signs and symptoms indicating a patient may be suffering from LD or Pontiac fever. Health alerts sent by the public health agency to healthcare providers and facilities are used to highlight specific suspected or confirmed LD outbreaks and to inform practitioners and clinical laboratories how to report cases to the agency.

- Other Agencies and Governments – A public health agency may inform other divisions within the public health agency, other governmental agencies in its jurisdiction as well as other units of government (i.e., local, regional, state, federal) about an LD outbreak as required by standard procedure or by law. Depending on the extent and nature of the LD event, other divisions, agencies, or units of government may have regulatory or other legal authority over the operation of a facility (e.g., building codes enforcement, recreational water inspections).

- Media and the Public – Providing information to the media and the public about a suspected or confirmed LD outbreak is an important part of the risk communication process, but it must be approached taking care to balance the privacy interests of the involved facilities and individuals with the right of the public to be made aware of public health threats. (See Chapter 3 “Accessing Information and Confidentiality” for more information.) Issuing press releases and other statements about an LD outbreak at a specific facility or in the community generally can help to identify other persons who may have been exposed and alert them to the symptoms to watch for. For community LD outbreaks from an unknown source, releasing information to the media, public, and healthcare providers may produce additional leads as to the origin of the outbreak. Finally, providing updates on the status of an LD investigation can help to assure the public that the outbreak is being addressed and mitigated.

Table 2 below identifies key audiences, scenarios, and associated messages public health agencies can reference. This table also includes links to sample and template materials contained in the module’s appendix.

Selected Resources

This section identifies key resources about Legionella contamination and LD in recreational settings.

[Note: Will need to add additional resources to list.

Also need to determine best location for this section in the flow of the module

(e.g., before tables, after tables, etc.]

- ASHRAE. Standard 188: Legionellosis: Risk Management for Building Water Systems (ANSI approved): https://www.ashrae.org/technical-resources/bookstore/ansi-ashrae-standard-188-2018-legionellosis-risk-management-for-building-water-systems

- ASHRAE. Managing the risk of legionellosis associated with building water systems. ASHRAE guideline 12-2020:

https://www.techstreet.com/ashrae/standards/guideline-12-2020-managing-the-risk-of-legionellosis-associated-with-building-water-systems?product_id=2111422

- CDC. Legionnaires’ Disease Communication Resources: https://www.cdc.gov/legionella/health-depts/communications-resources.html#press-releases

- CDC. Guidance for Reopening Buildings After Prolonged Shutdown or Reduced Operation. Updated May 7, 2020: https://www.cdc.gov/coronavirus/2019-ncov/php/building-water-system.html.

- CSTE. Water Management Program Template: https://www.cste.org/resource/resmgr/pdfs/Water_Management_Program_Tem.zip

TABLE 1

| TABLE 1: Key Risk Factors in Recreational Settings |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Facility Type | Length of Stay in Facility | Water and Cooling Systems | Sources of Aerosolized Water | At-risk Persons in Facility | Specific Building or Location Features | Hybrid Setting |
| Large Recreational facility with water features - Amusement parks - Water parks | - Guests may stay for extended periods - Employees and contractors working onsite for extended periods | - Complex water systems - Facilities may be large - House a range of water applications - Complex cooling systems with one or more cooling towers | Multiple potential sources: - Rides and attractions - Pools, saunas, fountains, other water features on-site - Showers, faucets, toilets in buildings | Guests and employees with a cross-section of personal risk factors | Seasonal usage | Can be included in multiple other settings [See other modules] |
| Mid-size to small Recreational facility with water features - Pools - Hot tubs - Spas - Interactive water features/ misters | - Guests may stay for extended periods - Employees and contractors working onsite for extended periods | - Facilities vary in size and complexity - May house a range of water applications - Cooling towers not likely on smaller buildings | Multiple potential sources: - Pools, saunas, fountains, other water features on-site - Showers, faucets, toilets in buildings | Guests and employees with a cross-section of personal risk factors | Seasonal usage | Can be included in multiple other settings [See other modules] |
| Large Other recreational facilities - Casinos | - Guests stay for long periods gaming, dining, attending shows, shopping - Overnight and multiple-night stays by guests if also a hotel/resort - Employees and contractors working onsite for extended periods | - Complex water systems - Facilities may be large - House a range of water applications - Complex cooling systems with one or more cooling towers | Multiple potential sources: - Faucets, toilets - Fountains Additional potential sources if also a hotel/resort - Showers - Pools/water slides - Hot tubs - Saunas/steam rooms | Guests and employees with a cross-section of personal risk factors |  | Can include hotel or resort [add link to Hotels and Hospitality Module] |
| Mid-size to small Other recreational facilities - Gyms - RV parks - Campground - State parks | - Overnight and multiple-night stays by guests possible - Employees and contractors working and living onsite for extended periods | - Facilities generally smaller in size and complexity - May house a range of water applications - Cooling towers not likely on smaller buildings | Multiple potential sources depending on size and nature of facility: - Showers, faucets, toilets - Pools/water slides - Hot tubs - Saunas/steam rooms - Fountains | Guests and employees with a cross-section of personal risk factors | - Seasonal vacancies - Unused buildings - Potable water holding tanks |  |

TABLE 2 [

[Note to Reviewers: See the “Recreational Module Appendix Documents” subfolder on

Basecamp for the template and sample documents identified.]

[Note: Draft key messages taken/adapted from samples/templates]

| TABLE 2: Key Audiences and Messages for Recreational Settings |  |  |  |
| --- | --- | --- | --- |
| Audience | Scenarios | Key Messages | Templates, Samples & Resources |
| Facility | - Providing general information about LD risks | - LD is a form of pneumonia caused by inhaling Legionella bacteria contained in mist or water droplets - Describe LD disease and symptoms - Describe potential sources of LD common to the facility type (e.g., spas, hot tubs, showers, cooling towers) - Suggest reviewing water/facility maintenance procedures to avoid future risks - Direct facility to contact PH agency if they learn of other cases of LD with prior guests, regardless of where the guest lives | - Sample LD fact sheet (Wisconsin) (Doc Rec-01 in Module Appendix) - Fact Sheet on Legionella and Hot Tubs/Spas (CDC) (Doc Rec-01a in Module Appendix) |
| Facility | - Informing facility that past guest diagnosed with LD - Buildings | - A guest in your facility has been diagnosed with LD - LD is a serious form of pneumonia that is spread from aerosolized water (water droplets) that can contain Legionella bacteria - Describe potential sources of LD common to the facility type (e.g., water system, cooling towers, water features) - Suggest reviewing water/facility maintenance procedures to avoid future risks - Direct facility to contact PH agency if they learn of other cases of LD | - Adapted from: Sample letter to hotel re: prior guest with LD (Florida) (Doc Rec-02 in Module Appendix) |
| Guests & Employees | - Prospective visitors at facility with an LD outbreak - Template letter for facility to give to guests | - Facility notified by PH agency that several prior visitors/guests who stayed/were at the facility in the last [time period] have been diagnosed with LD within two weeks of being at the facility - Facility is cooperating with the PH agency investigation of sources of contamination - Describe LD disease and symptoms; point to fact sheet - Describe personal risk factors; point to fact sheet - Describe potential sources of LD common to the facility type (e.g., spas, hot tubs, showers) - If personal risk factors are a concern, consider rescheduling stay at facility - If exhibit symptoms see physician and have them contact PH agency | - Adapted from: Sample/Template PH notice from facility to prospective guests (Wisconsin) (Doc Rec-03 in Module Appendix) |
| Healthcare Providers & Facilities | - Alert healthcare providers about LD outbreak in a specific facility or in the community | - PH agency has confirmed ___ number of patients with Legionella pneumonia (also known as Legionnaire’s Disease) associated with _____ location - Cases likely acquired disease in ____ timeframe, based on clinical symptoms and the incubation period of Legionella bacteria - PH agency is working the environmental health/environment agency to identify potential sources of exposure and mitigate risk of additional cases - Health care providers should consider Legionella infection when evaluating community acquired pneumonia and ask patients about travel (including local travel) in the 10 days prior to symptom onset - Diagnostic testing for Legionella infection should include both urine antigen and culture of respiratory specimens; state PH laboratory is available to support testing - Healthcare providers should report suspected and confirmed cases of Legionella infection to the PH agency | - Sample Health Alert: Cluster of Legionella pneumophila Pneumonia (Legionnaire’s Disease) Associated with an area of Ashworth Avenue in Hampton, NH (New Hampshire) (Doc Rec-04 in Module Appendix) |
| Other Divisions, Agencies, & Governments | - Alert other divisions, agencies, or units of government about an LD outbreak in a specific facility or in the community | - Public health agency is investigating ____ number of cases of LD in specified location - Health departments are asked to report cases with travel to this area within 14 days of illness onset | - Sample Epi-X Notice: Call for Cases: Legionnaires’ Disease Associated with Travel to Hampton, New Hampshire (2018) and Update (New Hampshire) (Doc Rec-05 in Module Appendix) |
| Media & the Public | - Alert the media and public about an LD outbreak in a specific facility or in the community | - PH agency has confirmed ___ number of patients with Legionella pneumonia (also known as Legionnaire’s Disease) associated with _____ location - Cases likely acquired disease in ____ timeframe, based on clinical symptoms and the incubation period of Legionella bacteria - PH agency is working the environmental health/environment agency to identify potential sources of exposure and mitigate risk of additional cases - PH agency recommends that people who are at increased risk for severe disease from Legionella consider postponing their visit to the area of ______; list risk factors - Describe symptoms; recommend seeing physician if have travel (including local travel) in the 10 days prior to symptom onset - Provide contact information for PH agency and sources for more information | - Sample Press Release: Cluster of Legionella Pneumonia (Legionnaire’s Disease) Associated with An Area of Ashworth Avenue in Hampton, NH (New Hampshire) (Doc Rec-06 in Module Appendix) |

Appendix: Recreational Setting Module

Samples and Templates

[Note: Will need to get permission to use the included samples or can redact all identifying information and give “adapted from” credit. Will also look for additional samples.]

[Insert index with links to samples and templates]

- Sample LD fact sheet (Wisconsin)

(Doc Rec-01 in Module Appendix)

- Fact Sheet on Legionella and Hot Tubs/Spas (CDC)

(Doc Rec-01a in Module Appendix)

- Adapted from: Sample letter to hotel re: prior guest with LD (Florida)

(Doc Rec-02 in Module Appendix)

- Adapted from: Sample/Template PH notice from facility to prospective guests (Wisconsin)

(Doc Rec-03 in Module Appendix)

- Sample Health Alert: Cluster of Legionella pneumophila Pneumonia (Legionnaire’s Disease) Associated with an area of Ashworth Avenue in Hampton, NH

(New Hampshire)

(Doc Rec-04 in Module Appendix)

- Sample Epi-X Notice: Call for Cases: Legionnaires’ Disease Associated with Travel to Hampton, New Hampshire (2018) and Update

(New Hampshire)

(Doc Rec-05 in Module Appendix)

- Sample Press Release: Cluster of Legionella Pneumonia (Legionnaire’s Disease) Associated with An Area of Ashworth Avenue in Hampton, NH (New Hampshire)

(Doc Rec-06 in Module Appendix)

Note: Footnotes will be streamlined and edited to a style guide once the text is finalized

See generally CDC. Guidance for Reopening Buildings After Prolonged Shutdown or Reduced Operation. Updated May 7, 2020. Retrieved from https://www.cdc.gov/coronavirus/2019-ncov/php/building-water-system.html. Accessed August 28, 2020.