Hotels and Hospitality

Module

Hotels and other types of hospitality settings (e.g., resorts, motels, etc.) are among the most frequent sources of exposure to Legionella bacteria. Legionella contamination can also occur in cruise ships. These types of setting are susceptible to Legionella contamination because of the complexity and variety of water systems they contain, as well as the seasonality and variability in their occupancy rates, which can lead to stagnant or standing water vulnerable to Legionella growth.

Scope of Module

This module covers the several different kinds of facilities under the broad category of hotels and hospitality:

- Hotel, resorts, and motels

- Cruise ships

- Casinos

- RV parks, state parks, campgrounds, and truck stops

- Bed and breakfast, vacation rentals, short-term residence rentals (whole or partial residence) (e.g., Airbnb or VRBO)

Key Risk Factors in Hotel and Hospitality Facilities

There are multiple factors that can make hotels and hospitality facilities especially susceptible to Legionella contamination and spread. While not all of the risk factors identified below will apply equally to all of the types of facilities discussed in this module, they are hallmarks of the types of risks that are prevalent in hotel and hospitality settings. The categories of risk factors applicable to the hotel/hospitality setting are:

- Length of stay in the facility – Because Legionnaires’ disease (LD) is associated with overnight stays or extended exposures to a source within a facility contaminated with Legionella bacteria, the longer a person is at the facility—as overnight guests, event attendees, employees, or otherwise working or spending prolonged periods in a hotel or hospitality setting—the greater the potential to contract LD.

- Building systems with cooling towers – Large facilities are likely to have complex cooling systems that include cooling towers, which if not properly maintained, can become contaminated with Legionella bacteria, and disperse it through the building’s air conditioning system. Facilities like large hotels, resorts, casinos, and even large truck stops can have one or more cooling towers.

- Sources of aerosolized water – This is a broad category that includes many different types of potential sources of Legionella contamination within a hotel or other kind of hospitality setting. These can include aerosolized water from showers, faucets, toilets, hot tubs, saunas, pools, and fountains or other water features.

- At-risk persons in the facility – Some people may have factors that pre-dispose them for acquiring LD, such as being aged 50 years and older, those who smoke, and individuals who are at higher risk of infection (e.g., have a chronic illness, respiratory disease, or a weakened immune system). Other individuals may be at risk for LD based on the amount of time they spend in a facility and exposed to Legionella contamination. As noted above, guests and employees are just some of the persons who may be at risk in hotel/hospitality settings. Special events or conferences may also draw large numbers of individuals with particular risk factors (e.g., age over 50 years, those with a specific health condition).

- Specific building or location features – There may be features specific to a particular building, facility, or location that increases its potential for Legionella contamination or the potential for people occupying it to be exposed. For example, seasonal campgrounds and RV parks with potable water systems, shower facilities, and recreational water features may be unoccupied for prolonged periods; water can become contaminated if the systems are not maintained or cleaned before they are opened for the season. Similarly, if hotels or resorts have high vacancy rates and unused floors, water may stagnate in pipes and become a reservoir for Legionella bacteria.

- Hybrid settings – A hotel or other type of hospitality facility will likely have several different aspects to the property that make it a risk for fostering Legionella contamination and LD. Hotels, resorts, motels, campgrounds, RV parks, casinos, and cruise ships can all contain pools, hot tubs, saunas, or other recreational water features that produce water droplets that can be inhaled. These types of hybrid settings should be reviewed both as the hotel/hospitality setting, as well as a recreational water setting.

Table 1 below describes each of the facility types and highlights their specific risk factors.

Key Audiences and Messages

Each setting has key audiences for messaging about LD identification, investigation, mitigation, and prevention at hotel and hospitality facilities. Each of these persons and organizations will require foundational information about LD as well as information tailored to their perspective in the LD event. Messaging will also evolve during the LD event as suspected outbreaks are confirmed and follow-up is required with affected persons and facilities. The key audiences for hotel and hospitality settings are:

- Facility – Owners, operators, and managers are generally both the operational and legal points of contact for suspected and confirmed public health communicable disease investigations and response activities. (This should be confirmed by the law and regulations in a specific jurisdiction.) The facility is also a key source of information about guests, employees, contractors, and other persons or organizations who stayed or visited during the time period under investigation. Facility managers and employees will be required to use messaging supplied by a public health agency and provide it prospective customers to alert them to an ongoing LD investigation. Finally, the facility owners and staff must understand the process for investigating and testing the facility’s water and cooling systems and the required mitigation measures to address the contamination. If general risk communication methods are ineffective at obtaining action by the facility, messaging about and the use of public health orders or other enforcement mechanisms will be required.

- Guests and Employees – Guests and employees must receive clear messaging about LD such the cause, sources, risk factors, and symptoms of the disease. They must also be told key information about their specific potential exposure at a facility and its timing (if known), and how to speak with their doctor about the exposure. Points of contact with the public health agency and sources for additional information should also be clearly communicated

- Healthcare Providers and Facilities – Conducting outreach to healthcare providers and targeted healthcare facilities in the community in which an LD outbreak is occurring or has occurred helps to educate them about LD and to alert them what to the signs and symptoms indicating a patient may be suffering from LD or Pontiac fever. Health alerts sent by the public health agency to healthcare providers and facilities are used to highlight specific suspected or confirmed LD outbreaks and to inform practitioners and clinical laboratories how to report cases to the agency.

- Other Agencies and Governments – A public health agency may inform other divisions within the public health agency, other governmental agencies in its jurisdiction as well as other units of government (i.e., local, regional, state, federal) about an LD outbreak as required by standard procedure or by law. Depending on the extent and nature of the LD event, other divisions, agencies, or units of government may have regulatory or other legal authority over the operation of a facility (e.g., building codes enforcement, recreational water inspections).

- Media and the Public – Providing information to the media and the public about a suspected or confirmed LD outbreak is an important part of the risk communication process, but it must be approached taking care to balance the privacy interests of the involved facilities and individuals with the right of the public to be made aware of public health threats. (See Chapter 3 “Accessing Information and Confidentiality” for more information.) Issuing press releases and other statements about an LD outbreak at a specific hotel or other hospitality facility can help to identify other persons who may have been exposed and alert them to the symptoms to watch for. Providing updates on the status of an LD investigation can help to assure the public that the outbreak is being addressed and mitigated.

Table 2 below identifies key audiences, scenarios, and associated messages public health agencies can reference. This table also includes links to sample and template materials contained in the module’s appendix.

Selected Resources

This section identifies key resources about Legionella contamination and LD in hotel and hospitality settings.

[Note: Will need to add additional resources to list.

Also need to determine best location for this section in the flow of the module

(e.g., before tables, after tables, etc.]

- ASHRAE. Standard 188: Legionellosis: Risk Management for Building Water Systems (ANSI approved): https://www.ashrae.org/technical-resources/bookstore/ansi-ashrae-standard-188-2018-legionellosis-risk-management-for-building-water-systems

- CDC. Legionnaires’ Disease Communication Resources: https://www.cdc.gov/legionella/health-depts/communications-resources.html#press-releases

  - Includes sample letters for hotels

- CDC. Considerations for Hotel Owners and Managers: How to Prevent Legionnaires’ Disease: https://www.cdc.gov/legionella/wmp/hotel-owners-managers.html

- CDC. Vessel Sanitation Program: https://www.cdc.gov/nceh/vsp/default.htm

- CSTE. Water Management Program Template: https://www.cste.org/resource/resmgr/pdfs/Water_Management_Program_Tem.zip

TABLE 1

| TABLE 1: Key Risk Factors in Hotel and Hospitality Facilities |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Facility Type | Length of Stay in Facility | Building Systems with Cooling Towers | Sources of Aerosolized Water | At-risk Persons in Facility | Specific Building or Location Features | Hybrid Setting |
| Large Hotels Resorts | - Overnight and multiple-night stays by guests - Attendees at all-day conferences or events - Employees and contractors working onsite for extended periods | Complex cooling systems with one or more cooling towers | Multiple potential sources: - Showers, faucets, toilets - Pools/water slides - Hot tubs - Saunas/steam rooms - Fountains | Can have guests and employees with a cross-section of personal risk factors | - Unused floors or buildings - Seasonal vacancies | Includes multiple types of recreational water settings [add link to Recreational Water Module] |
| Small Hotels Motels | - Overnight and multiple-night stays by guests - Employees and contractors working onsite for extended periods | Could have cooling systems with cooling towers | Multiple potential sources: - Showers, faucets, toilets - Pools/water slides - Hot tubs - Saunas/steam rooms - Fountains | Can have guests and employees with a cross-section of personal risk factors | - Unused floors or buildings - Seasonal vacancies - Potentially fewer staff for water system maintenance | Includes multiple types of recreational water settings [add link to Recreational Water Module] |
| Cruise Ships | - Multiple-night stays by guests - Employees and contractors working and living onsite for extended periods | Cooling towers not used as part of cooling systems [check] | Multiple potential sources: - Showers, faucets, toilets - Pools/water slides - Hot tubs - Saunas/steam rooms - Fountains | Can have guests and employees with a cross-section of personal risk factors | - Potable water holding tanks - De-salination systems - Water re-use in some systems (e.g., condensed water from A/C units reused in laundry) [check] | Includes multiple types of recreational water settings [add link to Recreational Water Module] |
| Casinos | - Guests stay for long periods gaming, dining, attending shows, shopping - Overnight and multiple-night stays by guests if also a hotel/resort - Employees and contractors working onsite for extended periods | Complex cooling systems with one or more cooling towers | Multiple potential sources: - Faucets, toilets - Fountains Additional potential sources if also a hotel/resort - Showers - Pools/water slides - Hot tubs - Saunas/steam rooms | Can have guests and employees with a cross-section of personal risk factors |  | Can include multiple types of recreational water settings [add link to Recreational Water Module] |
| RV parks State parks Campgrounds | - Overnight and multiple-night stays by guests - Employees and contractors working and living onsite for extended periods | Cooling towers not used as part of cooling systems | Multiple potential sources depending on size and nature of facility: - Showers, faucets, toilets - Pools/water slides - Hot tubs - Saunas/steam rooms - Fountains | Can have guests and employees with a cross-section of personal risk factors | - Seasonal vacancies - Unused buildings - Potable water holding tanks | Can include multiple types of recreational water settings [add link to Recreational Water Module] |
| Truck stops | Employees working onsite for extended periods | Larger facilities could have cooling systems with cooling towers | Multiple potential sources: - Showers, faucets, toilets | Can have guests and employees with a cross-section of personal risk factors |  | Can also be considered as a Community Setting [add link to Community Module] |
| Bed & breakfasts Vacation residence rentals Short-term residence rentals | Overnight and multiple-night stays by guests | Cooling towers not used as part of cooling systems | Multiple potential sources: - Showers, faucets, toilets Additional potential sources: - Pools/water slides - Hot tubs - Saunas/steam rooms | Can have guests with a cross-section of personal risk factors | - Seasonal vacancies - Unused buildings | Can include multiple types of recreational water settings [add link to Recreational Water Module] Can also be considered as a Community Setting [add link to Community Module] |

TABLE 2

[Note to Reviewers: See the “Hotels Module Appendix Documents” subfolder on

Basecamp for the template and sample documents identified.]

[Note: Draft key messages taken/adapted from samples/templates]

| TABLE 2: Key Audiences and Messages for Hotels and Hospitality Facilities |  |  |  |
| --- | --- | --- | --- |
| Audience | Scenarios | Key Messages | Templates, Samples & Resources |
| Facility | - Providing general information about LD risks | - LD is a form of pneumonia caused by inhaling Legionella bacteria contained in mist or water droplets - Describe LD disease and symptoms - Describe potential sources of LD common to the facility type (e.g., spas, hot tubs, showers, cooling towers) - Suggest reviewing water/facility maintenance procedures to avoid future risks - Direct facility to contact PH agency if they learn of other cases of LD with prior guests, regardless of where the guest lives | - Sample LD fact sheet (Wisconsin) (Doc Hot-01 in Module Appendix) |
| Facility | - Informing facility that past guest(s) diagnosed with LD - No legally required action at this time | - Recent guest in your facility has been diagnosed with LD - LD is a serious form of pneumonia that is spread from aerosolized water (water droplets) that can contain Legionella bacteria - Describe potential sources of LD common to the facility type (e.g., spas, hot tubs, showers) - Suggest reviewing water/facility maintenance procedures to avoid future risks - Direct facility to contact PH agency if they learn of other cases of LD with prior guests, regardless of where the guest lives | - Sample letter to hotel re: prior guest with LD (Florida) (Doc Hot-02 in Module Appendix) - Sample letter to facility re: prior guest with LD – cites legal authority for PH investigation (Nevada) (Doc Hot-03 in Module Appendix) - Sample/template to facility re: person diagnosed with LD reported stay at facility (Tennessee) (Doc Hot-04 in Module Appendix) |
| Facility | - Ordering facility to allow inspection and take actions required by law to mitigate conditions giving rise to LD | - Action being ordered pursuant to identify local/state law - There is reasonable cause to believe the property is or may be infected or contaminated with a communicable disease that may be a threat to public health - Facility ordered to allow property to be inspected - Facility ordered to undertake prescribed control measures | - Sample PH order re: open facility for inspection (Texas) (Doc Hot-05 in Module Appendix) - Sample Modified PH order re: facility investigation and control measures (Texas) (Doc Hot-06 in Module Appendix) |
| Guests & Employees | - Retrospective letter to guests who stayed at or visited facility with LD cases | - Records indicate you were a prior guest of the facility - PH agency is investigating cases of LD associated with the facility and in the community around the facility - Prior guests of the facility have been diagnosed with LD - Facility is cooperating with the PH agency investigation of sources of contamination - Identify suspected sources(s) if known - Describe LD disease and symptoms - Describe personal risk factors - If exhibit symptoms see physician and have them contact PH agency - Contact PH agency for more information; point to fact sheet | - Sample retrospective letter from PH agency to facility guests (New Hampshire) (Doc Hot-07 in Module Appendix) |
| Guests & Employees | - Prospective guests at facility with an LD outbreak - Template letter for facility to give to guests | - Facility notified by PH agency that several prior guests who stay at the facility in the last [time period] have been diagnosed with LD within two weeks of staying at the facility - Facility is cooperating with the PH agency investigation of sources of contamination - Describe LD disease and symptoms; point to fact sheet - Describe personal risk factors; point to fact sheet - Describe potential sources of LD common to the facility type (e.g., spas, hot tubs, showers) - If personal risk factors are a concern, consider rescheduling stay at facility - If exhibit symptoms see physician and have them contact PH agency | - Sample/Template PH notice from facility to prospective guests (Wisconsin) (Doc Hot-08 in Module Appendix) - Sample LD fact sheet (Wisconsin) (Doc Hot-01 in Module Appendix) |
| Guests & Employees | - Prospective guests at facility with an LD outbreak - Letter to PH agency directly to guests - (Also part of a community LD outbreak) | - PH agency is investigating cases of LD associated with the facility and in the community around the facility - Prior guests of the facility have been diagnosed with LD - Facility is cooperating with the PH agency investigation of sources of contamination - Describe LD disease and symptoms - Describe personal risk factors - If personal risk factors are a concern, consider rescheduling stay at facility - If staying, list risk mitigation measures - If exhibit symptoms see physician and have them contact PH agency - Contact PH agency for more information; point to fact sheet | - Sample letter from PH agency to prospective guests (New Hampshire) (Doc Hot-09 in Module Appendix) |
| Guests & Employees | - Posted notice of prior LD cases at facility | - Guests have been diagnosed with LD after recently staying at this facility - LD is a serious bacterial pneumonia that people get by breathing in small water droplets containing Legionella bacteria - Water tests at this property show Legionella bacteria have been, and may still be, present in the facility’s water system. - Your risk of LD may increase if you are 50 years or older, smoke cigarettes, or have certain medical conditions, such as a weakened immune system - Contact the PH agency for more information | - Sample public notice of LD risk in facility (New Hampshire) (Doc Hot-10 in Module Appendix) |
| Healthcare Providers and Facilities | - Alert healthcare providers about LD outbreak in a specific facility or in the community | - PH agency has confirmed ___ number of patients with Legionella pneumonia (also known as Legionnaire’s Disease) associated with _____ location - Cases likely acquired disease in ____ timeframe, based on clinical symptoms and the incubation period of Legionella bacteria - PH agency is working the environmental health/environment agency to identify potential sources of exposure and mitigate risk of additional cases - Health care providers should consider Legionella infection when evaluating community acquired pneumonia and ask patients about travel (including local travel) in the 10 days prior to symptom onset - Diagnostic testing for Legionella infection should include both urine antigen and culture of respiratory specimens; state PH laboratory is available to support testing - Healthcare providers should report suspected and confirmed cases of Legionella infection to the PH agency | - Sample Health Alert: Cluster of Legionella pneumophila Pneumonia (Legionnaire’s Disease) Associated with an area of Ashworth Avenue in Hampton, NH (New Hampshire) (Doc Hot-11 in Module Appendix) |
| Other Divisions, Agencies, and Governments | - Alert other divisions, agencies, or units of government about an LD outbreak in a specific facility or in the community | - Public health agency is investigating ____ number of cases of LD in specified location - Health departments are asked to report cases with travel to this area within 14 days of illness onset | - Sample Epi-X Notice: Call for Cases: Legionnaires’ Disease Associated with Travel to Hampton, New Hampshire (2018) (New Hampshire) (Doc Hot-12 in Module Appendix) |
| Media and the Public | - Alert the media and public about an LD outbreak in a specific facility or in the community | - PH agency has confirmed ___ number of patients with Legionella pneumonia (also known as Legionnaire’s Disease) associated with _____ location - Cases likely acquired disease in ____ timeframe, based on clinical symptoms and the incubation period of Legionella bacteria - PH agency is working the environmental health/environment agency to identify potential sources of exposure and mitigate risk of additional cases - PH agency recommends that people who are at increased risk for severe disease from Legionella consider postponing their visit to the area of ______; list risk factors - Describe symptoms; recommend seeing physician if have travel (including local travel) in the 10 days prior to symptom onset - Provide contact information for PH agency and sources for more information | - Sample Press Release: Cluster of Legionella Pneumonia (Legionnaire’s Disease) Associated with An Area of Ashworth Avenue in Hampton, NH (New Hampshire) (Doc Hot-13 in Module Appendix) |

Appendix: Hotel and Hospitality Module

Samples and Templates

[Note: Will need to get permission to use the included samples or can redact all identifying information and give “adapted from” credit. Will also look for additional samples.]

[Insert index with links to samples and templates]

- Sample LD fact sheet (Wisconsin)

(DocHot-01 in Module Appendix)

- Sample letter to hotel re: prior guest with LD (Florida)

(Doc Hot-02 in Module Appendix)

- Sample letter to facility re: prior guest with LD – cites legal authority for PH investigation (Nevada)

(Doc Hot-03 in Module Appendix)

- Sample/template to facility re: person diagnosed with LD reported stay at facility (Tennessee)

(Doc Hot-04 in Module Appendix)

- Sample PH order re: open facility for inspection (Texas)

(Doc Hot-05 in Module Appendix)

- Sample Modified PH order re: facility investigation and control measures (Texas)

(Doc Hot-06 in Module Appendix)

- Sample retrospective letter from PH agency to facility guests (New Hampshire)

(Doc Hot-07 in Module Appendix)

- Sample/Template PH notice from facility to prospective guests (Wisconsin)

(Doc Hot-08 in Module Appendix)

- Sample letter from PH agency to prospective guests (New Hampshire)

(Doc Hot-09 in Module Appendix)

- Sample public notice of LD risk in facility (New Hampshire)

(Doc Hot-10 in Module Appendix)

- Sample Health Alert: Cluster of Legionella pneumophila Pneumonia (Legionnaire’s Disease) Associated with an area of Ashworth Avenue in Hampton, NH (New Hampshire)

(Doc Hot-11 in Module Appendix)

- Sample Epi-X Notice: Call for Cases: Legionnaires’ Disease Associated with Travel to Hampton, New Hampshire (2018) (New Hampshire)

(Doc Hot-12 in Module Appendix)

- Sample Press Release: Cluster of Legionella Pneumonia (Legionnaire’s Disease) Associated with An Area of Ashworth Avenue in Hampton, NH (New Hampshire)

(Doc Hot-13 in Module Appendix)

CDC. Considerations for Hotel Owners and Managers: How to Prevent Legionnaires’ Disease. Webpage last reviewed by CDC August 15, 2019. Retrieved from https://www.cdc.gov/legionella/wmp/hotel-owners-managers.html. Accessed August 20, 2020.

CDC. Outbreaks. Webpage last reviewed by CDC April 30, 2018.   Retrieved from https://www.cdc.gov/legionella/outbreaks.html. Accessed August 20, 2020.