Timelines/Deadlines

- What is the penalty for PHAs or facilities are if labs aren't able to comply with the 8/1 deadline? Enforcement pending? Will there be penalties?

- With the current updates and no final guidance published, can our lab partners fully rely on the Confluence website as final guidance to meet the 8/1 deadline?

- Does CDC/HHS plan to extend the 8/1 deadline?

- For the optional questions, is there an intent to make those required at some point? If yes, when is the targeted deadline? What if a PHA already collects that information from a provider via another route?

Laboratory Related

- Calls/information/assistance from the national level on the following, and updating of all PHA ELR representatives. Need more details.

  - How/what national labs are doing to meet this (timelines for each lab, are they using the recommended codes, etc);

  - National labs who are not using a fully specified HL7 2.5.1 message – transition?

  - Lab locations of larger labs who are not reporting in electronic format – who is working with them to go to some sort of efile based on the national HL7 ELR standard or the new universal csv standard?

  - Nationally coordinated discussions with labs who report to more than one state and who is working with those labs so each state does not have to reach out separately – use a team approach?. And the status of these endeavors. Basically who is working with what lab to see these changes are implemented.

  - What LIS vendors are doing and who a state-based lab (hospital or smaller lab) can contact for assistance in modifying their order interfaces.

    - For ‘smaller’ labs who are not using electronic reporting – why not and who can help that lab at least send a flat file.

- Will all laboratories and PHAs be required to use the LOINC-SNOMED codes as defined – if a lab does not, can we require they do so these codes are harmonized in use across labs and PHAs?

- If the requirements cannot be sent in HL7, what are the alternative reporting mechanisms for labs to report to PH, PH to CDC, etc.?

AOE and Providers

- Are all AOE questions required?

- Do providers still need to report case information if these AOE are including in lab reports?
YES, this is not intended to replace provider case reporting.

- Is there still a disconnect in wording – are facilities/healthcare providers that order tests required  to collect AOE?

- Are AOEs required for both antigen and antibody testing?

- What does First Test mean? Are these question on the confluence page still relevant?

  - Intent of use of question – does patient have to answer

  - Is this for exact test code ordered or the type of order

  - If type of order, what types do we need to consider like or different, e.g., if provider is ordering serology, but patient had past PCR, is that a Y or N answer

  - Only for tests ordered within that organization or ordered anywhere at anytime

  - Is it relevant for previous test for diagnostic, screening, research

  - Clarification between first diagnostic test and first screening test

Coding

- Are the LOINC-SNOMED combinations on the CDC website “the standard”?

- For Race/Ethnicity refused to answer – must we use the ASKU or can we use PHC1175? If there is a value set change, when will that be finalized?

- CDC site for pregnancy is Pregnant – Not Pregnant – Unknown. Will Confluence page be changed to match?

- For the MSH-21 – does this mean labs use this MSH-21  LAB_PH_HHS_ELR_Guidance_Component^^2.16.840.1.113883.9.259^ISO

instead of what we have them use now?

  - Will there be further explanation of the 2.8.2 conformance testing and how it applies for OBX-14, OBX-23, OBX-24, and OBX-25 in ELR R1

  - Adjust usage of ORC-15 and OBX-18 from O to RE and declare respective datatypes

- Will there be an updated HL7 NIST testing tool?

- Further assistance with csv files

Device Coding

- How should OBX-17 be populated to capture Device ID?  The data type is Coded Element, but it has been difficult to find standard coded values for all the different instruments.  Is a text description acceptable? Or should the Primary ID number from the NLM Access GUDID site be used?  If yes what coding system should be used in OBX-17.3? Here is an example from the NLM site: https://accessgudid.nlm.nih.gov/devices/10811877011269

- Further explanation and guidance on how to tell labs to identify devices – can we use any of the various examples on Confluence (in the table below)

| Cepheid Xpert Xpress SARS-CoV-2 test used as described in EUA | OBX-17 | Xpert Xpress SARS-CoV-2 test_Cepheid _EUA | OBX-17.1 = <Diagnostic (Letter of Authorization)>_<Manufacturer name>_EUA OBX-17.3 = "99ELR" | CDC LIVD mapping file in the "Equipment UID" column |
| --- | --- | --- | --- | --- |
| Abbott ID now as described in EUA | OBX-17 | ID NOW COVID-19_Abbott Diagnostics Scarborough, Inc. _EUA | OBX-17.1 = <Diagnostic (Letter of Authorization)>_<Manufacturer name>_EUA OBX-17.3 = "99ELR" | CDC LIVD mapping file in the "Equipment UID" column |
| LDT listed in Appendix A | OBX-17 | Cormeum SARS-CoV-2 Assay_Cormeum Laboratory Services_EUA | OBX-17.1 = <Letter Granting Inclusion under EUA>_<Laboratory>_EUA OBX-17.3 = "99ELR" | CDC LIVD mapping file in the "Equipment UID" column |
| CDC test run on Abbott m2000 using model names | OBX-17 for test kit | CDC 2019-nCoV Real-Time RT-PCR Diagnostic Panel_CDC_MNT | OBX-17.1 = <Test kit name>_<Manufacturer name>_MNT OBX-17.3 = "99ELR" | Name used in package insert (or "Model" in LIVD file) |
| CDC test run on Abbott m2000 using model names | OBX-17 for instrument | m2000 RealTime System_Abbott_MNI | OBX-17.1 = <Instrument name>_<Manufacturer name>_MNI OBX-17.3 = "99ELR" | Name used in package insert (or "Model" in LIVD file) |
| bioMérieux ARGENE SARS-COV-2 R-GENE test run on ABI 7500 Fast Dx Real-Time PCR Instrument using device ID | OBX-17 for test kit | 423735_bioMérieux_DIT | OBX-17.1 = <Device ID>_<Manufacturer name>_DIT OBX-17.3 = "99ELR" | CDC LIVD mapping file in the "Equipment UID" column |
| bioMérieux ARGENE SARS-COV-2 R-GENE test run on ABI 7500 Fast Dx Real-Time PCR Instrument using device ID | OBX-17 for instrument | 4351106_Applied Biosystems_DII | OBX-17.1 = <Device ID>_<Manufacturer name>_DII OBX-17.3 = "99ELR" | LIVD file from Applied Biosystems "Product Reference UID" provides the identifier |
| Manual test kit for AB testing using model name | OBX-17 for manual test kit | SARS-CoV-2 IgM/IgG Antibody Test Kit_Biohit Healthcare_MNM | OBX-17.1 = <Manual kit name>_<Manufacturer name>_MNM OBX-17.3 = "99ELR" | CDC LIVD mapping file in the "Model" column |
| PH Lab developed test kit on Roche Cobas 6800 using model name for both | OBX-17 for test kit | SARS-COV-2 rt-PCR_SLOPHL_MNT | OBX-17.1 = <modelname = whatever the lab calls it>_<Labname = manufacturer name>_MNT OBX-17.3 = "99ELR" | PH lab documentation |
| PH Lab developed test kit on Roche Cobas 6800 using model name for both | OBX-17 for instrument | cobas® 6800/8800 Systems_Roche_MNI | OBX-17.1 = <IVD platform model name>_<Manufacturer name>_MNI OBX-17.3 = "99ELR" | LIVD file from Roche in the "Model" column |
| PH Lab developed test kit on Roche Cobas 6800 using model name for kit | OBX-17 for test kit | SARS-COV-2 rt-PCR_SLOPHL_MNT | OBX-17.1 = <modelname = whatever the lab calls it>_<Labname = manufacturer name>_MNT OBX-17.3 = "99ELR" | PH lab documentation |
| PH Lab developed test kit on Roche Cobas 6800 usingUDI for instrument | OBX-18 for instrument | [udi carrier]^2.16.840.1.113883.3.3719^ISO | OBX-18.1 = [udi carrier] OBX-18.3 = "2.16.840.1.113883.3.3719" OBX-18.4 = "ISO" | Device documentation (package insert/label) |
| Using Roche COBAS INTEGRA 400 plus using Device Identifier | OBX-17 | 4015630924592_Roche_DII | OBX-17.1 = <Device ID>_<Manufacturer name>_DII OBX-17.3 = "99ELR" | LIVD file from Roche "Product Reference UID" provides the identifier; "Product Reference UID Type" was listed as GITN, indicating it is a device ID |
| UDI carrier scanned on barcode using OID | OBX-18 |  | OBX-18.1 = [udi carrier] OBX-18.3 = "2.16.840.1.113883.3.3719" OBX-18.4 = "ISO" | Device documentation (package insert/label) on instrument, test kit (or box), or manual kit |
| UDI carrier scanned on barcode using URI | OBX-18 |  | OBX-18.1 = [udi carrier] OBX-18.3 = "http://hl7.org/fhir/NamingSystem/fda-udi" OBX-18.4 = "URI" | Device documentation (package insert/label) on instrument, test kit (or box), or manual kit |