## Overview

| # | Data Element | Reporting Requirement |  |  | Technical Specifications | Notes | Example | HL7 Field |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Federal / CDC / HHS | State / Local PHD | Ordering Provider / EHR |  |  |  |  |
| 2 | Test result (performed) Test result (values) | Yes | Yes | Requested | Must use harmonized LOINC codes, when available Qualitative tests: Must use harmonized SNOMED-CT value set codes | Variant identified through sequencing isolate from the original specimen | LOINC: 96741-4: SARS-CoV-2 (COVID-19) variant [Type] in Specimen by Sequencing PLR or hopefully soon SNOMED-CT Values: PLR4366^SARS-CoV-2 variant B.1.1.7 (501Y.V1)^PLR PLR4367^ SARS-CoV-2 variant B.1.351 (501Y.V2)^PLR PLR4368^ SARS-CoV-2 variant P.1 (501Y.V3)^PLR | OBX-3 OBX-5 |
| 3 | Test result date | Yes | Yes | Requested | YYYY[MM[DD]] | Date the test result was obtained | Example: 20200716 | OBX-19.1 |
| 7 | Device Identifier | Yes | Yes | Requested | Must use harmonized Device Identifiers (DI), when available. The DI is contained within the unique device identifier (UDI), created by manufacturer | Manufacturer requests UDI issuance, then provides DI, or pull from GUDID database If DI unavailable: Use the Unique Trade Name (controlled under 21 CFR 209.10(b)(1)) | Example DI: 01234567891011 Example Trade Name: SARS-CoV-2 Test_Company_MNT^^99ELR | OBX-17, OBX-18 |
| 9 | Sequence ID | Yes | Requested |  | NCBI SRA ID or ID assigned by GISAID or an alternative ID for the sequence (example shown is for GISAID) | Add as an additional observation to the original report | 87396-8^GenBank accession number^LN or 96766-1^GISAID sequence accession number^LN PLT2251^NCBI Sequence Read Archive Number [Identifier]^LN Example: Preferred as CX datatype: EPI ISL 123456^^^GISAID.DB.PROD 2.16.840.1.113883.3.8589.4.2.64.2&ISO^ACSN If needed send as ST: EPI ISL 123456 | OBX-3 OBX-5 |
| 19 | Performing facility name; CLIA # | Yes; if known | Yes; if known |  | Alpha; ##D####### | CLIA Laboratory Search | Example: 21D1234567 | OBX-23.10 |
| Acronyms: AOE: Ask on Order Entry CDC: Centers for Disease Control and Prevention CLIA: Clinical Laboratory Improvement Amendments DI: Device Identifier EHR: Electronic Health Record GUDID: Global Unique Device Identification Database HHS: Department of Health and Human Services HL7: Health-Level Seven ICU: Intensive Care Unit ID: Identifier LIVD: LOINC In Vitro Diagnostic LOINC: Logical Observations Identifiers Names and Codes NPI: National Provider Identifier NPPES: National Plan and Provider Enumeration System OBR: Observation Request Segment OBX: Observation/Result Segment OMB: Office of Management and Budget ORC: Common Order Segment PHD: Public Health Department PID: Patient Identification Segment SNOMED-CT: Systematized Nomenclature of Medicine – Clinical Terms SPM: Specimen Segment UNK: Unknown |  |  |  |  |  |  |  |  |

## Example messages

#1 Include prior PCR result that resulted in decision to do sequencing, if performed at the same lab (Parent-child linking, if possible)

MSH|…

SFT|…

PID|1|…

ORC|RE||425195^<FillerSystem>^<OID>^ISO|||||||||<NPI>^DoctorLastName^FirstName^^^^^^NPI&2.16.840.1.113883.4.6&ISO^^^^NPI|||20201103093552-0500||||||HealthCare|301 Anystreet^^Daytona Beach^FL^32117|^PRN^PH^^^111^1234566|

OBR|1||425195^<FillerSystem>^<OID>^ISO |94500-6^SARS coronavirus 2 RNA [Presence] in Respiratory specimen by NAA with probe detection^LN^^^^2.69|||20201102063552-0500|||||||||<NPI>^DoctorLastName^FirstName^^^^^^NPI&2.16.840.1.113883.4.6&ISO^^^^NPI ||||||20201103093827-0500|||F

OBX|1|CWE|94500-6^SARS coronavirus 2 RNA [Presence] in Respiratory specimen by NAA with probe detection^LN^^^^2.69||260373001^Detected^SCT^^^^Vunknown||||||F||||<CLIA>||Abbott RealTime SARS-CoV-2 assay_Abbott Molecular Inc._EUA^^99ELR^^^^Vunknown||20201103093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008

NTE|1|L|Abbott RealTime SARS-CoV-2 assay_Abbott Molecular Inc._EUA|RE^Remark^HL70364^^^^2.5.1

OBX|2|NM|30525-0^Age^LN^^^^2.68||40|a^year^UCUM^^^^Vunknown|||||F||||<CLIA>||||20201103093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008|||||QST

OBX|3|CWE|95419-8^Whether patient has symptoms related to condition of interest^LN^^^^2.69-pre||Y^Yes^HL70136^^^^2.5.1||||||F||||<CLIA>||||20201103093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008|||||QST

OBX|4|CWE|82810-3^Pregnancy status^LN^^^^2.68||60001007^Not Pregnant^SCT^^^^Vunknown||||||F||||<CLIA>||||20201103093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008|||||QST

SPM|1|^MOL20-003999&NEOLINK.STAG&2.16.840.1.113883.3.8589.4.2.29.2&ISO||258529004^Throat swab^SCT^^^^Vunknown|||||||||||||20201102063552-0500|20201103063552-0500

ORC|RE||425197^<FillerSystem>^<OID>^ISO|||||||||<NPI>^DoctorLastName^FirstName^^^^^^NPI&2.16.840.1.113883.4.6&ISO^^^^NPI|||20201103093552-0500||||||HealthCare|301 Anystreet^^Daytona Beach^FL^32117|^PRN^PH^^^111^1234566|

OBR|2||425197^<FillerSystem>^<OID>^ISO |96741-4^SARS-CoV-2 (COVID-19) variant [Type] in Specimen by Sequencing^LN^^^^2.69|||20201104093827-0500|||||||||<NPI>^DoctorLastName^FirstName^^^^^^NPI&2.16.840.1.113883.4.6&ISO^^^^NPI||||||20201103093827-0500|||F|94500-6&SARS coronavirus 2 RNA [Presence] in Respiratory specimen by NAA with probe detection&LN^^Detected|||^425197&<FillerSystem>&<OID>&ISO

OBX|1|CWE|96741-4^SARS-CoV-2 (COVID-19) variant [Type] in Specimen by Sequencing^LN^^^^2.69||PLR4366^ SARS-CoV-2 variant B.1.1.7 (501Y.V1)^PLR^^^^1.35||||||F||||<CLIA>||||20201104093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008

OBX|2|CX|96766-1^GISAID sequence accession number^LN||EPI ISL 250390^^^ GISAID.DB.STAGPROD 2.16.840.1.113883.3.8589.4.2.64.2&ISO^ACSN|||||F||||<CLIA>||||20201104093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008

SPM|1|^MOL20-003999&NEOLINK.STAG&2.16.840.1.113883.3.8589.4.2.29.2&ISO||258529004^Throat swab^SCT^^^^Vunknown|||||||||||||20201102063552-0500|20201103063552-0500

#2 Include prior PCR result that resulted in decision to do sequencing, if performed at the same lab – no parent-child linkage

MSH|…

SFT|…

PID|1|…

ORC|RE||425195^<FillerSystem>^<OID>^ISO|||||||||<NPI>^DoctorLastName^FirstName^^^^^^NPI&2.16.840.1.113883.4.6&ISO^^^^NPI|||20201103093552-0500||||||HealthCare|301 Anystreet^^Daytona Beach^FL^32117|^PRN^PH^^^111^1234566|

OBR|1||425195^<FillerSystem>^<OID>^ISO|94500-6^SARS coronavirus 2 RNA [Presence] in Respiratory specimen by NAA with probe detection^LN^^^^2.69|||20201102063552-0500|||||||||<NPI>^DoctorLastName^FirstName^^^^^^NPI&2.16.840.1.113883.4.6&ISO^^^^NPI ||||||20201103093827-0500|||F

OBX|1|CWE|94500-6^SARS coronavirus 2 RNA [Presence] in Respiratory specimen by NAA with probe detection^LN^^^^2.69||260373001^Detected^SCT^^^^Vunknown||||||F||||<CLIA>||Abbott RealTime SARS-CoV-2 assay_Abbott Molecular Inc._EUA^^99ELR^^^^Vunknown||20201103093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008

NTE|1|L|Abbott RealTime SARS-CoV-2 assay_Abbott Molecular Inc._EUA|RE^Remark^HL70364^^^^2.5.1

OBX|2|NM|30525-0^Age^LN^^^^2.68||40|a^year^UCUM^^^^Vunknown|||||F||||<CLIA>||||20201103093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008|||||QST

OBX|3|CWE|95419-8^Whether patient has symptoms related to condition of interest^LN^^^^2.69-pre||Y^Yes^HL70136^^^^2.5.1||||||F||||<CLIA>||||20201103093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008|||||QST

OBX|4|CWE|82810-3^Pregnancy status^LN^^^^2.68||60001007^Not Pregnant^SCT^^^^Vunknown||||||F||||<CLIA>||||20201103093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008|||||QST

SPM|1|^MOL20-003999&NEOLINK.STAG&2.16.840.1.113883.3.8589.4.2.29.2&ISO||258529004^Throat swab^SCT^^^^Vunknown|||||||||||||20201102063552-0500|20201103063552-0500

ORC|RE||425197^<FillerSystem>^<OID>^ISO|||||||||<NPI>^DoctorLastName^FirstName^^^^^^NPI&2.16.840.1.113883.4.6&ISO^^^^NPI|||20201103093552-0500||||||HealthCare|301 Anystreet^^Daytona Beach^FL^32117|^PRN^PH^^^111^1234566|

OBR|2||425197^<FillerSystem>^<OID>^ISO|96741-4^SARS-CoV-2 (COVID-19) variant [Type] in Specimen by Sequencing^LN^^^^2.69|||20201104093827-0500|||||||||<NPI>^DoctorLastName^FirstName^^^^^^NPI&2.16.840.1.113883.4.6&ISO^^^^NPI||||||20201103093827-0500|||F|94500-6&SARS coronavirus 2 RNA [Presence] in Respiratory specimen by NAA with probe detection&LN^^Detected|||^425197&<FillerSystem>&<OID>&ISO

OBX|1|CWE|96741-4^SARS-CoV-2 (COVID-19) variant [Type] in Specimen by Sequencing^LN^^^^2.69||PLR4366^ SARS-CoV-2 variant B.1.1.7 (501Y.V1)^PLR^^^^1.35||||||F||||<CLIA>||||20201104093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008

OBX|2|CX|96766-1^GISAID sequence accession number^LN||EPI ISL 250390^^^ GISAID.DB.STAGPROD 2.16.840.1.113883.3.8589.4.2.64.2&ISO^ACSN|||||F||||<CLIA>||||20201104093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008

SPM|1|^MOL20-003999&NEOLINK.STAG&2.16.840.1.113883.3.8589.4.2.29.2&ISO||258529004^Throat swab^SCT^^^^Vunknown|||||||||||||20201102063552-0500|20201103063552-0500

#3 Just the variant identification with reference to the GSAID sequence (sent as a ST datatype, if CX is not possible)

MSH|…

SFT|…

PID|1|…

ORC|RE||425197^<FillerSystem>^<OID>^ISO|||||||||<NPI>^DoctorLastName^FirstName^^^^^^NPI&2.16.840.1.113883.4.6&ISO^^^^NPI|||20201103093552-0500||||||HealthCare|301 Anystreet^^Daytona Beach^FL^32117|^PRN^PH^^^111^1234566|

OBR|1||425197^<FillerSystem>^<OID>^ISO|96741-4^SARS-CoV-2 (COVID-19) variant [Type] in Specimen by Sequencing^LN^^^^2.69|||20201104093827-0500|||||||||<NPI>^DoctorLastName^FirstName^^^^^^NPI&2.16.840.1.113883.4.6&ISO^^^^NPI||||||20201103093827-0500|||F

OBX|1|CWE|96741-4^SARS-CoV-2 (COVID-19) variant [Type] in Specimen by Sequencing^LN^^^^2.69||PLR4366^ SARS-CoV-2 variant B.1.1.7 (501Y.V1)^PLR^^^^1.35||||||F||||<CLIA>||||20201104093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008

OBX|2|ST|96766-1^GISAID sequence accession number^LN||EPI ISL 250390|||||F||||<CLIA>||||20201104093827-0500||||Testinglab name^L^^^^CLIA&2.16.840.1.113883.4.7&ISO^XX^^^<CLIA>|2110 Any Road^^Carlsbad^CA^92008

SPM|1|^MOL20-003999&NEOLINK.STAG&2.16.840.1.113883.3.8589.4.2.29.2&ISO||258529004^Throat swab^SCT^^^^Vunknown|||||||||||||20201102063552-0500|20201103063552-0500