At Home Testing
We discussed the 3 different at home testing categories and decided we will make fake CLIA’s for each category so here is the proposed solution:
· Link to the CDC guidance document: https://www.hhs.gov/sites/default/files/hhs-diagnostic-data-faqs.pdf 
· Bottom of page 3 suggests to use:
· SA for Self administered for performing organization
· OTC for Over the Counter for provider name
· Doesn’t address teleprotoring
· Doesn’t address how to populate the other required elements for performing organization and provider
· For the example messages below I used OneAbbott’s feed as the sender for all, even though at this point in production they will be reporting ONLY the last scenario in production, which represents the BINAX At home test reported via the Navica app (but I didn’t want to make up more aggregators at this time)
For at home testing there are 3 categories (in order of expected data quality – from low to higher):
1) At home testing over the counter purchase– patient buys and performs testing, result is obtained via app that then does the reporting; this may result in limited data fidelity (no verification a) that person tested = patient, b) of how the specimen was collected, c) if the test procedure was followed, d) if the interpretation of the result and subsequent reporting is accurate, unless the app preforms the interpretation, e) data about the patient is accurate)
a. Ordering Provider First Name (ORC-12.3/OBR-16.3) = “SA.OverTheCounter”
b. Ordering Facility Name (ORC-21.1) = “SA.OverTheCounter”
c. Ordering Facility Address (ORC-22) = <Copy patient address (PID-11)> 
d. Ordering Facility Phone (ORC-23) = <Copy Patient Home Phone (PID-13); if not available, use default value ^^^^111^1111111>
e. Performing Facility Name (OBX-23.1) = “SA.OverTheCounter”
f. Performing Facility CLIA (OBX-15.1 and OBX-23.10) = 00Z0000014
g. Performing Facility Address (OBX-24) = “11 Fake AtHome Test Street^^Yakutat^AK^99689^^^^02282”
h. Allowed test kits with EUA for this purpose:
i. Ellume’s  COVID-19 Home Test_Ellume Limited -– OBX-17.1 = Ellume COVID-19 Home Test_Ellume Limited_EUA
ii. Cue Health Inc’s Cue COVID-19 Test for Home and Over The Counter (OTC) Use – OBX-17.1 = Cue COVID-19 Test_Cue Health Inc._EUA
iii. Lucira Health, Inc.’s Lucira COVID-19 All-In-One Test Kit – OBX-17.1 =Lucira COVID-19 All-In-One Test Kit_Lucira Health, Inc._EUA (will soon be updated in LIVD to: 00810055970001_DIT) - this is what will be sent via AIMS
iv. ANY OTHERS???
i. [bookmark: _GoBack]Example message is for Ellume’s  COVID-19 Home Test sent by OneAbbott: InterPartner~CentralizedELR~OneAbbott~AIMSPlatform~Test~Test~2021012816241013~STOP~TestMessageSA.OTC_AL_FINAL

2) At home testing with prescription – patient is prescribed the test, obtains the kit, sample collection and test performance is unsupervised, result is obtained via app that then does the reporting; this may result in some limited data fidelity (no verification a) that person tested = patient, b) of how the specimen was collected, c) if the test procedure was followed, d) if the interpretation of the result and subsequent reporting is accurate, however data about the patient should be accurate – since it is coming from the provider’s health record)
a. Ordering Facility Name (ORC-21.1) = <Copy Ordering Provider Name (ORC-12/OBR-16), if no separate facility>
b. Ordering Facility Address (ORC-22) = <Copy Ordering Provider Address (ORC-24), if no separate facility>
c. Ordering Facility Phone (ORC-23) = <Copy Callback number (ORC-14/OBR17), if no separate facility number, else use default value ^^^^111^1111111>
d. Performing Facility Name (OBX-23.1) = “SA.Prescription”
e. Performing Facility CLIA (OBX-15.1 and OBX-23.10) = 00Z0000015
f. Performing Facility Address (OBX-24) = “12 Fake AtHome Test Street^^Yakutat^AK^99689^^^^02282”
g. Allowed test kits with EUA for this purpose:
i. Lucira Health, Inc.’s Lucira COVID-19 All-In-One Test Kit – OBX-17.1 =Lucira COVID-19 All-In-One Test Kit_Lucira Health, Inc._EUA (will soon be updated in LIVD to: 00810055970001_DIT) – this will be discontinued – is currently being reported via providers ONLY
ii. Quidel Corporation’s QuickVue At-Home COVID-19 Test – OBX-17.1 = QuickVue At-Home COVID-19 Test_Quidel Corporation_EUA (will soon be updated in LIVD to: 30014613339373_DIT)
iii. ANY OTHERS???
h. Example message is for Quidel Corporation’s QuickVue At-Home COVID-19 Test sent by OneAbbott: InterPartner~CentralizedELR~OneAbbott~AIMSPlatform~Test~Test~2021012816241013~STOP~TestMessageSA.Prescription_AL_FINAL

3) At home testing with prescription and tele proctoring – patient is prescribed the test, obtains the kit, sample collection and test performance is done under observation of the healthcare professional and results are reported via the app. This has verification a) that person tested = patient, b) of how the specimen was collected, c) if the test procedure was followed, d) if the interpretation of the result and subsequent reporting is accurate, e) data about the patient is accurate???
a. Ordering Facility Name (ORC-21.1) = <Copy Ordering Provider Name (ORC-12/OBR-16), if no separate facility>
b. Ordering Facility Address (ORC-22) = <Copy Ordering Provider Address (ORC-24), if no separate facility>
c. Ordering Facility Phone (ORC-23) = <Copy Callback number (ORC-14/OBR-17), if no separate facility number, else use default value ^^^^111^1111111>
d. Performing Facility Name (OBX-23.1) = “SA.TeleProctor”
e. Performing Facility CLIA (OBX-15.1 and OBX-23.10) = 00Z0000016
f. Performing Facility Address (OBX-24) = “13 Fake AtHome Test Street^^Yakutat^AK^99689^^^^02282”
g. Allowed test kits with EUA for this purpose: 
i. Abbott’s BinaxNOW COVID-19 Ag Card Home Test – OBX-17.1 = 10811877011337_DIT
ii. ANY OTHERS???
h. Example message is for Abbott’s BinaxNOW COVID-19 Ag Card Home Test sent by OneAbbott: InterPartner~CentralizedELR~OneAbbott~AIMSPlatform~Test~Test~2021012816241013~STOP~TestMessageSA.TeleProctor_AL_FINAL
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