Order code (OBR-4):

PLT2770

Shortname: B burgdor IgG & IgM MTT IA Pnl

Longname: Borrelia burgdorferi Ab.IgG & IgM Modified Tiered Testing Panel

Initial screening test OBX-3:

PLT2771

Shortname: B burgdor VlsE1/pepC10 IgG + IgM Ser Ql IA

Longname: Borrelia burgdorferi VlsE1 and pepC10 Antibodies IgG+IgM [Presence] in Serum by Immunoassay

allowed results (OBX-5):

Index Value/OD Ratio

Negative Specimens ≤0.90 = map to 260385009^Negative^SCT - if allowable should map to the recommended term for IA, which is 260415000^Not detected^SCT

Equivocal Specimens 0.91 to 1.09 = map to 42425007^Equivocal^SCT

Positive Specimens ≥1.10 = map to 10828004^Positive^SCT - if allowable should map to the recommended term for rapid IA, which is 260373001^Detected^SCT

OBX-17 = Borrelia VlsE1/pepC10 IgG/IgM Test System_Zeus Scientific, Inc_MNT, no specific instrument value

Possible follow up test, when screening is positive or equivocal OBX-3:

83081-0

shortname: B burgdor IgG+IgM Ser Ql IA

longname: Borrelia burgdorferi IgG+IgM Ab [Presence] in Serum by Immunoassay

allowed results (OBX-5):

Index Value/OD Ratio

Negative Specimens ≤0.90 = map to 260385009^Negative^SCT - if allowable should map to the recommended term for IA, which is 260415000^Not detected^SCT

Equivocal Specimens 0.91 to 1.09 = map to 42425007^Equivocal^SCT

Positive Specimens ≥1.10 = map to 10828004^Positive^SCT - if allowable should map to the recommended term for rapid IA, which is 260373001^Detected^SCT

OBX-17 = B. burgdorferi IgG/IgM Test System_Zeus Scientific, Inc_MNT, no specific instrument value

Possible follow up test, when screening is positive or equivocal OBX-3:

40612-4

shortname: B burgdor IgM SerPl Ql IA

longname: Borrelia burgdorferi IgM Ab [Presence] in Serum or Plasma by Immunoassay

allowed results (OBX-5):

Index Value/OD Ratio

Negative Specimens ≤0.90 = map to 260385009^Negative^SCT - if allowable should map to the recommended term for IA, which is 260415000^Not detected^SCT

Equivocal Specimens 0.91 to 1.09 = map to 42425007^Equivocal^SCT

Positive Specimens ≥1.10 = map to 10828004^Positive^SCT - if allowable should map to the recommended term for rapid IA, which is 260373001^Detected^SCT

OBX-17 = B. burgdorferi IgM Test System_Zeus Scientific, Inc_MNT, no specific instrument value

Possible follow up test, when screening is positive or equivocal OBX-3:

16480-6

shortname: B burgdor IgG SerPl Ql IA

longname: Borrelia burgdorferi IgG Ab [Presence] in Serum or Plasma by Immunoassay

allowed results (OBX-5):

Index Value/OD Ratio

Negative Specimens ≤0.90 = map to 260385009^Negative^SCT - if allowable should map to the recommended term for IA, which is 260415000^Not detected^SCT

Equivocal Specimens 0.91 to 1.09 = map to 42425007^Equivocal^SCT

Positive Specimens ≥1.10 = map to 10828004^Positive^SCT - if allowable should map to the recommended term for rapid IA, which is 260373001^Detected^SCT

OBX-17 = B. burgdorferi IgG Test System_Zeus Scientific, Inc_MNT, no specific instrument value

Overall interpretation OBX-3:

PLT2772

Shortname: B burgdor IgG+IgM Ser IA-Imp

Longname: Borrelia burgdorferi IgG and IgM [Presence Interpretation] in Serum by Immunoassay

allowed results (OBX-5):

supportive evidence for the presence of IgG/IgM antibodies and exposure to B. burgdorferi = map to: either a new code for "serological evidence of prior exposure or infection" or 260373001^Detected^SCT

no supportive evidence for the presence of IgG/IgM antibodies and exposure to B. burgdorferi = map to: either a new code for "no serological evidence of prior exposure or infection" or 260415000^Not detected^SCT

OBX-17 = (whichever of the follow up tests was done, or leave empty)

DiaSorin:

Order code (OBR-4):

PLT2773

Shortname: B afz+burg+gari Ab.IgG+IgM MTT Panel

Longname: Borrelia afzelii+burgdorferi+garinii Ab.IgG+IgM Modified Tiered Testing Panel

Initial screening test OBX-3:

PLT2774

Shortname: B afz+burg+gari Ab.IgG+IgM Ser Ql IA

Longname: Borrelia afzelii+burgdorferi+garinii  Antibodies IgG+IgM [Presence] in Serum by Immunoassay

allowed results (OBX-5):

Index = < 0.90  = Negative = Absence of detectable Borrelia burgdorferi antibodies. = map to: 260385009^Negative^SCT - if allowable should map to the recommended term for IA, which is 260415000^Not detected^SCT

Index = ≥ 0.90 and < 1.10 = Equivocal = The imprecision inherent in this method does not allow definitive categorization of samples that read close to the cutoff. = map to: 42425007^Equivocal^SCT

Index = ≥ 1.10 = Positive = Presence of detectable Borrelia burgdorferi antibodies. map to: 10828004^Positive^SCT - if allowable should map to the recommended term for rapid IA, which is 260373001^Detected^SCT

OBX-17: LIAISON® Lyme Total Antibody Plus_DiaSorin Inc_MNT, (test is limited to ONLY the Liasion XL Analyzer, so not sure we need to send, but if we do use: LIAISON XL Analyzer_DiaSorin_MNI)

Possible follow up test, when screening is positive or equivocal OBX-3 - this is the quant value - not sure it would be reported:

92810-1

shortname: B afz+burg+gari IgG Ser IA-aCnc

longname: Borrelia afzelii+burgdorferi+garinii IgG Ab [Units/volume] in Serum by Immunoassay

allowed results (OBX-5): <numeric value >

units (OBX-6): AU/mL (will need to figure out the UCUM map)

OBX-17: LIAISON Borrelia IgG_DiaSorin Inc_MNT, (test is limited to ONLY the Liasion XL Analyzer, so not sure we need to send, but if we do use: LIAISON XL Analyzer_DiaSorin_MNI)

Possible follow up test, when screening is positive or equivocal OBX-3:

92814-3

shortname:B afz+burg+gari IgG Ser Ql IA

longname: Borrelia afzelii+burgdorferi+garinii IgG Ab [Presence] in Serum by Immunoassay

allowed results (OBX-5):

Samples with Borrelia burgdorferi IgG concentrations below 10 AU/mL should be graded negative. = map to: 260385009^Negative^SCT - if allowable should map to the recommended term for IA, which is 260415000^Not detected^SCT

Samples with Borrelia burgdorferi IgG concentrations ranging between 10 and 15 AU/mL should be graded equivocal. = map to: 42425007^Equivocal^SCT

Samples with Borrelia burgdorferi IgG concentrations equal to or above 15 AU/mL should be graded positive = map to: 10828004^Positive^SCT - if allowable should map to the recommended term for rapid IA, which is 260373001^Detected^SCT

OBX-17: LIAISON Borrelia IgG_DiaSorin Inc_MNT, (test is limited to ONLY the Liasion XL Analyzer, so not sure we need to send, but if we do use: LIAISON XL Analyzer_DiaSorin_MNI)

Possible follow up test, when screening is positive or equivocal OBX-3:

PLT2775

Shortname: B afz+burg+gari Ab.IgM Ser Ql IA

Longname: Borrelia afzelii+burgdorferi+garinii IgM Ab [Presence] in Serum by Immunoassay

allowed results (OBX-5):

Samples with Borrelia burgdorferi IgM concentrations below 10 AU/mL should be graded negative. = map to: 260385009^Negative^SCT - if allowable should map to the recommended term for IA, which is 260415000^Not detected^SCT

Samples with Borrelia burgdorferi IgM concentrations ranging between 10 and 15 AU/mL should be graded equivocal. = map to: 42425007^Equivocal^SCT

Samples with Borrelia burgdorferi IgM concentrations equal to or above 15 AU/mL should be graded positive = map to: 10828004^Positive^SCT - if allowable should map to the recommended term for rapid IA, which is 260373001^Detected^SCT

OBX-17: LIAISON Borrelia IgM II_DiaSorin Inc_MNT, (test is limited to ONLY the Liasion XL Analyzer, so not sure we need to send, but if we do use: LIAISON XL Analyzer_DiaSorin_MNI)

Overall interpretation OBX-3:

PLT2776

Shortname: B afz+burg+gari Ab.IgG & IgM Ser - Imp

Longname: Borrelia afzelii+burgdorferi+garinii Ab IgG and IgM [Interpretation] in Serum by Immunoassay

allowed results (OBX-5):

IgG- and IgM - = No evidence of infection. In case of clinical uncertainty (presence of tick bite or neurological symptoms), the patients should be followed up during time. = map to either a new code for "no serological evidence of prior exposure or infection" or 260415000^Not detected^SCT

IgG – and IgM + = Probable infection at an early stage. = map to: a new code for "serological evidence of probable infection at early stage"

IgG+ and IgM- =  Probable infection at any stage. = map to: a new code for "serological evidence of probable infection at any stage"

IgG+ and IgM+ = Probable acute infection. = map to: a new code for "serological evidence of probable acute infection"

Gold Standard Diagnostics:

Order code (OBR-4):

PLT2777

Shortname: B burgdor IgG & IgM MTT IA Pnl 2

Longname: Borrelia burgdorferi Ab.IgG & IgM Modified Tiered Testing Panel 2

Initial screening test OBX-3:

PLT2778

Shortname: B burgdor VLSE/OspC IgG + IgM Ser Ql IA

Longname: Borrelia burgdorferi VLSE and OspC Antibodies IgG+IgM [Presence] in Serum by Immunoassay

allowed results (OBX-5):

Cutoff = OD Calibrator*Correction Factor from the calibrator label

Units (qualitative) = (OD Controls of samples / Cutoff)*10

<9.0 units = negative

9.0 - 11 units = equivocal

>11 units = positive

Negative Specimens <9.0 units = map to 260385009^Negative^SCT - if allowable should map to the recommended term for IA, which is 260415000^Not detected^SCT

Equivocal Specimens 9.0 to 11 units = map to 42425007^Equivocal^SCT

Positive Specimens ≥11 units = map to 10828004^Positive^SCT - if allowable should map to the recommended term for rapid IA, which is 260373001^Detected^SCT

OBX-17 = Borrelia burgdorferi VLSE-OspC IgG/IgM ELISA Test Kit_Gold Standards Diagnostics, INC_MNT, no specific instrument value

Possible follow up test, when screening is positive or equivocal OBX-3:

83081-0

Shortname: B burgdor IgG+IgM Ser Ql IA

Longname:  Borrelia burgdorferi IgG+IgM Ab [Presence] in Serum by Immunoassay

allowed results (OBX-5):

Cutoff = OD Calibrator*Correction Factor from the calibrator label

Units (qualitative) = (OD Controls of samples / Cutoff)*10

<9.0 units = negative

9.0 - 11 units = equivocal

>11 units = positive

Negative Specimens <9.0 units = map to 260385009^Negative^SCT - if allowable should map to the recommended term for IA, which is 260415000^Not detected^SCT

Equivocal Specimens 9.0 to 11 units = map to 42425007^Equivocal^SCT

Positive Specimens ≥11 units = map to 10828004^Positive^SCT - if allowable should map to the recommended term for rapid IA, which is 260373001^Detected^SCT

OBX-17 = Borrelia burgdorferi IgG/IgM ELISA Test Kit_Gold Standards Diagnostics, INC_MNT, no specific instrument value

Possible follow up test, when screening is positive or equivocal OBX-3:

16480-6

Shortname: B burgdor IgG SerPl Ql IA

Longname:  Borrelia burgdorferi IgG Ab [Presence] in Serum or Plasma by Immunoassay

allowed results (OBX-5):

Cutoff = OD Calibrator*Correction Factor from the calibrator label

Units (qualitative) = (OD Controls of samples / Cutoff)*10

<9.0 units = negative

9.0 - 11 units = equivocal

>11 units = positive

Negative Specimens <9.0 units = map to 260385009^Negative^SCT - if allowable should map to the recommended term for IA, which is 260415000^Not detected^SCT

Equivocal Specimens 9.0 to 11 units = map to 42425007^Equivocal^SCT

Positive Specimens ≥11 units = map to 10828004^Positive^SCT - if allowable should map to the recommended term for rapid IA, which is 260373001^Detected^SCT

OBX-17 = Borrelia burgdorferi IgG ELISA Test Kit_Gold Standards Diagnostics, INC_MNT, no specific instrument value

Possible follow up test, when screening is positive or equivocal OBX-3:

40612-4

Shortname: B burgdor IgM SerPl Ql IA

Longname:  Borrelia burgdorferi IgM Ab [Presence] in Serum or Plasma by Immunoassay

allowed results (OBX-5):

Cutoff = OD Calibrator*Correction Factor from the calibrator label

Units (qualitative) = (OD Controls of samples / Cutoff)*10

<9.0 units = negative

9.0 - 11 units = equivocal

>11 units = positive

Negative Specimens <9.0 units = map to 260385009^Negative^SCT - if allowable should map to the recommended term for IA, which is 260415000^Not detected^SCT

Equivocal Specimens 9.0 to 11 units = map to 42425007^Equivocal^SCT

Positive Specimens ≥11 units = map to 10828004^Positive^SCT - if allowable should map to the recommended term for rapid IA, which is 260373001^Detected^SCT

OBX-17 = Borrelia burgdorferi IgM ELISA Test Kit_Gold Standards Diagnostics, INC_MNT, no specific instrument value

Overall interpretation OBX-3:

46248-1

Shortname:  B burgdor IgG+IgM Ser IA-Imp

Longname: Borrelia burgdorferi IgG and IgM [Interpretation] in Serum by Immunoassay

allowed results (OBX-5):

IgG- and IgM - = No evidence of infection. = map to:

IgG – and IgM + = Probable infection at an early stage. = map to: a new code for "serological evidence of prior exposure or infection in an early stage"

IgG+ and IgM- =  Probable infection at any stage. = map to: a new code for "serological evidence of prior exposure or infection at any stage"

IgG+ and IgM+ = Probable acute infection. = map to: a new code for "serological evidence of exposure or acute infection"