## Slide 1: Notes on the HT1 RFI Questions
Riki Merrick, MPH

## Slide 2: 1. Which implementation guides or other standards should ONC adopt in certification criteria for health IT supporting transmittal and receipt of laboratory orders, laboratory results and directory of services?
  Available standards:
  V2:
    LOI R4 (V2)
    AOE part of eDOS (currently V2 focused, but can be used with other HL7 products, too)
    ValueSets for LOI/LRI/eDOS, which specify LOINC, SNOMED CT and HL7 maintained vocabularies
  FHIR:
    FHIR Order Entry (FOE) IG in development – so maybe in the future
  Considerations:
  Many existing V2 interfaces using custom ORM, some may be using custom OML
  Use of LOI R4 would
  Enable consistent order content
  Provide clear guidance on use of AOEs
  Support declaring conformance at the profile level to support specific options

## Slide 3: 1. Which implementation guides or other standards should ONC adopt in certification criteria for health IT supporting transmittal and receipt of laboratory orders, laboratory results and directory of services?
  Available standards in US realm:
  V2:
    Results to providers = LRI R4
    Results to public Health = ELR R1 and PH profile in LRI R4
    ValueSets for LOI/LRI/eDOS , which specify LOINC, SNOMED CT and HL7 maintained vocabularies
  CDA:
    Results between providers = C-CDA based Document Exchange and associated template IGs
  FHIR:
    No explicit IG available, though there are lab related US Core resources:
      US Core DiagnosticReport Profile for Laboratory Results Reporting
      US Core Laboratory Result Observation Profile

## Slide 4: 1. Which implementation guides or other standards should ONC adopt in certification criteria for health IT supporting transmittal and receipt of laboratory orders, laboratory results and directory of services?
Considerations
LRI includes profiles for specific lab use cases (clinical genomics, newborn screening, public health reporting, Emergency Preparedness etc) which
  Supports consistent reporting for the more complex situations and would benefit if becoming mainstay
  Can be pre-adopted into older result message implementations
ELR’s latest version is the PH_Component in LRI – updating to the latter through SVAP would create a common base for others to move to LRI and align PH reporting with clinical reporting
FHIR US Core profiles do NOT currently cover all CLIA elements and would need to be updated for use in the lab to provider use case
Using FHIR to visualize results in other settings seems a good initial use case

## Slide 5: 1. Which implementation guides or other standards should ONC adopt in certification criteria for health IT supporting transmittal and receipt of laboratory orders, laboratory results and directory of services?
  Available standards:
  V2
    eDOS
    ValueSets for LOI/LRI/eDOS, which specify LOINC, SNOMED CT and HL7 maintained vocabularies
  FHIR
    FHIR catalog IG (to be published soon)
  Considerations:
  Used when setting up new communication partners
  Somewhat removed from the configuration workflow, so not sure of the ROI
  Not proposing use of eDOS V2
  Maybe use FHIR catalog, but
  not yet mature to adopt with clear benefits except when price transparency becomes more important to support “shopping” for the right lab

## Slide 6: 2. The utility and maturity of existing HL7 v2 and C-CDA standards supporting laboratory interoperability and the impact of moving to FHIR-based laboratory data exchange.
  For provider-laboratory interactions HL7 v2 is the workhorse to communicate orders and results, BUT
    not as consistent and interchangeable, but established, so need ROI for upgrades
    maybe when new data elements / use case needs force larger updates
  For provider-provider/payer/research the HL7 C-CDA is well established, although HL7 v2 is widely used when sharing involves HIEs.
  Using FHIR:
    FHIR guides that support ordering workflow are in progress, e.g., FHIR Order Workflow, but not for the wide range of order/result flows.
    As C-CDA documents move to FHIR Documents and Collections the opportunity to migrate is more imminent.
    As the FHIR knowledge base and capabilities expand that make easy migration from HL7 v2 realistic and/or v2 expertise starts to run out, such conversions will accelerate. We do note that where additional data is needed, it still may be most efficient and fastest by adding data to HL7 v2 than switching to FHIR.

## Slide 7: 2. The utility and maturity of existing HL7 v2 and C-CDA standards supporting laboratory interoperability and the impact of moving to FHIR-based laboratory data exchange.
  While FHIR has promise, replacement of the main workflows between providers and laboratories in terms of volume would not yield sufficient benefits to shift, however
    The focus need to be on green-field topics:
      genomic data sharing along with the order or the result
      Durable Medical Equipment (DME) orders requiring more data for prior authorization
      walk-in laboratories managing orders. i.e. ability to support “lab shopping” where one receives a QR code and can select the laboratory of choice which in turn requests an order to be forwarded. That forward may be an HL7 v2 message, while a FHIR based approach becomes viable.
      Results of the more complex / complicated use cases like genomics and anatomic pathology, where v2 interfaces do not currently yield good structured data
      Access to results as FHIR resources for data users other than the ordering provider like patients, public health or research

## Slide 8: 3. What barriers would additional health IT certification criteria for laboratory interoperability create for developers and other interested parties, and how might this affect adoption and use of such technology?
  LOI/LRI support use of AOE data in tow ways – those that are part of the lab catalog and needed for lab testing and those that are relevant to PH or other data users, but not needed for lab operations; it would be beneficial to find alternative ways to report those other data, from the source system via electronic Case reporting (eCR) - some guidance updates to LOI and LRI may be required to reduce use of pass-through AOEs.
  Where labs do serve walk-in patients and have to manage more patient information, effectively using an “EHR”, they should be allowed to only use the eCR pathway (if eCR and Lab triggers ensure that every reportable lab always yields an eCR).
  Currently system certification provides a higher level of assurance of consistency
    ideally both systems in a data exchange should be certified, but if that is not possible/feasible at least the source system should be certified, which means considering expanding certification to LIS and IVDs

## Slide 9: 3. What barriers would additional health IT certification criteria for laboratory interoperability create for developers and other interested parties, and how might this affect adoption and use of such technology?
  Focus on certification of options = profiles rather than full guides. LOI/LRI support that.
  Separate certification of semantic aspects from syntax aspects, which will allow certification of systems using older syntax while improving semantic quality of the data
  Differentiate between providing certification requirements and tooling for certification from enforcing / incentivizing users to actually do this.

## Slide 10: 4. Would developers of laboratory information systems or in vitro diagnostics systems that have not traditionally submitted products for certification under the Program seek out and benefit from certification to criteria relevant to such developers’ products?
If being able to sell a certified product has benefits to the users of the product, that would be a motivation to participate
One clear benefit for the consumer of Health IT products is being able to compare functionality more objectively – certification (or integration statements like IHE offers after successful connectathons) can provide such avenue

## Slide 11: 5. Are there any other steps that ONC and HHS should consider taking to advance laboratory interoperability?
Consider adopting the SHIELD (Systemic Harmonization and Interoperability Enhancement for Laboratory Data) semantic work supporting the correct identification of the performed test and proper coded representation of all lab related attributes across the healthcare ecosystem and related developed tooling
  As part of SHIELD the expanded content of the LOINC to IVD Test Code (LIVD) mapping specification in the FHIR IG should be supported and encouraged to be adopted / implemented, including the creation and maintenance of the Laboratory Interoperability Data Repository (LIDR), which represents a collection of IVD test attributes that are of interest for the various users of IVD test results
  SHIELD is also working on other strategies outlined in the community roadmap document <will share official link, when published>
It would be important to not only certify the product, but also the site-specific implementation of the certified product

## Slide 12: NOTES FROM DURING THE CALL – not part of the presentation
Ideally describe what to do now – what is the target state and how can we get there (rather than replacing what is in place – cost to maintain a lot of point-point interfaces vs maybe being able to get rid of that by using FHIR – might find resistance by middleware or EHR-s vendors, as that is a revenue stream)
Certification vs encourage use (for eDOS / catalog and LIVD)
Important to ensure the right data (from the source system) flows to PH – so eCR and ELR respectively, with a good way to link them on the PH side
Must ensure ALL data needed by the lab is coming in with the order (ORM does not have SPM nor does it have NK1, so updating to OML is beneficial for that