Operational Guidance for PS 17-ID-04

Public Health Reporting and National Notification of Carbapenemase Producing Carbapenem-Resistant Enterobacteriaceae (CP-CRE) for E. coli, Klebsiella spp. and Enterobacter spp.

Council of State and Territorial Epidemiologists

April 2017

This page left intentionally blank

# Contents

- Abbreviations and Definition of Terms

...............................................................................................................................................

- Project Background

...............................................................................................................................................

- Laboratory Guidance and Notes

...............................................................................................................................................

- Example Language Used in Guidance to Laboratories Reporting CRE and CP-CRE to Public    Health

...............................................................................................................................................

- Considerations for Operationalization/Implementation of Reporting of CP-CRE and CRE by Public Health Jurisdictions

...............................................................................................................................................

- Case Investigation

...............................................................................................................................................

- Display of Data on CRE/CP-CRE

...............................................................................................................................................

- Guidance on Time Intervals to Distinguish New Cases of CP-CRE

...............................................................................................................................................

- Definition of Suspect CP-CRE Case

...............................................................................................................................................

- Sub classification of Suspect Cases into (a) Likely non-CP-CRE and (b) Insufficient Information to Classify as CP-CRE or Likely non-CP-CRE

...............................................................................................................................................

- Expanded Definition of CP-CRE

...............................................................................................................................................

- Diagram illustrating ALRN interaction: Clinical Laborites, State Public Health Laboratories and Regional Labs

...............................................................................................................................................

- Best Practices for Surveillance of Antimicrobial Resistance via Electronic Laboratory Reporting

...............................................................................................................................................

# Section 1: Abbreviations and Definitions of Terms

CLSI: Clinical and Laboratory Standards Institute

CRE: Carbapenem-Resistant Enterobacteriaceae

CP-CRE: Carbapenemase-Producing Carbapenem-Resistant Enterobacteriaceae

KPC: Klebsiella pneumoniae carbapenemase

VIM: Verona Integron-mediated Metallo-β-Lactamase

NDM: New Delhi Metallo-β-Lactamase

OXA: Oxacillinase

IMP: Imipenemase

MBL: Metallo-β-Lactamase

Carba NP: Carba Nordmann- Poirel

CIM: Carbapenem Inhibition Method

mCIM: modifiied Carbapenem Inhibition Method

MHT: Modified Hodge test

PCR- Polymerase Chain Reaction

Back to Table of Contents

# Section 2: Project Background

Carbapenemase-producing carbapenem-resistant Enterobacteriaceae (CP-CRE) are an emerging public health problem in the United States. Interventions to control the spread of CP-CRE require:

  - Uniform, consistent classification and count of CP-CRE both within and across public health jurisdictions to facilitate reporting CP-CRE data to professional audiences, policy makers, and the public

(2) Actionable epidemiology for healthcare facilities about CP-CRE detection, prevention and response.

The overall aim is containment of CP-CRE.

Back to Table of Contents

# Section 3. Laboratory guidance and notes

- Changes have been made to the Clinical and Laboratory Standards Institute (CLSI) MIC breakpoints for both carbapenems and cephalosporins in the past decade. It is important to note that clinical laboratory adoption of the most current breakpoints for these antibiotic classes may vary, both in laboratory philosophy and software or panel updates for automated systems. Therefore, susceptibility results received should be interpreted accordingly. Quantitative (numeric values) as well as qualitative (interpretation) results should be reported.

Clinical and Laboratory Standards Institute. 2017. Performance standards for antimicrobial susceptibility testing: 27th informational supplement CLSI document M100-S27. Clinical and Laboratory Standards Institute, Wayne, PA.

- Due to intrinsic production of AmpC beta-lactamase, non-CP Enterobacter spp. or Citrobacter spp. may produce a false positive Modified Hodge Test. False positive results may also be observed with organisms carrying extended-spectrum beta-lactamases of the CTX-M type.  There is also a problem with false negative MHT results when testing New Delhi metallo-β-lactamase (NDM)-producing isolates. Therefore, caution is advised when interpreting results for these organisms. Other phenotypic tests for carbapenemase production, such as the mCIM should be used, if available.

Carvalhaes CG, Picao RC, Nicoletti AG, Xavier DE, Gales AC. Cloverleaf test (modified Hodge test) for detecting carbapenemase production in Klebsiella pneumoniae: be aware of false positive results. J Antimicrob Chemother. 2010; 65(2):249–51.

Hung KH, Yan JJ, Lu JJ, Chen HM, Wu JJ. Characterization of the modified Hodge test-positive isolates of Enterobacteriaceae in Taiwan. J Microbiol Immunol Infect. 2013; 46(1):35-40.

Girlich D, Poirel L, Nordmann P. Value of the modified Hodge test for detection of emerging carbapenemases in Enterobacteriaceae. J Clin Microbiol. 2012; 50(2):477–9.

Lutgring, JD, Limbago BM. The problem of carbapenemase-producing-carbapenem-resistant-Enterobacteriaceae detection. J Clin Micro 2016; 54(3):529-534

- Metallo-beta-lactamase carbapenemases require the presence of metal ions such as zinc to hydrolyze carbapenems. Lack of appropriate zinc ion supplementation in Mueller Hinton Agar media used in the Modified Hodge Test may lead to false negative results for NDM and other metallo-beta-lactamase enzymes. In addition, it has been observed that Modified Hodge Test results for NDM carbapenemases may vary depending on the carbapenem used for the test (i.e., ertapenem, meropenem, imipenem).

Girlich D, Poirel L, Nordmann P. Value of the modified Hodge test for detection of emerging carbapenemases in Enterobacteriaceae. J Clin Microbiol. 2012; 50(2):477–9.

- Due to the inherently weak carbapenem hydrolysis activity of OXA-48 and OXA-48-like enzymes, delayed, weak, indeterminate, or negative reactions may be observed with the Carba NP and the CIM test. Therefore, a Carba NP indeterminate or negative result or a negative CIM test should not be considered sufficient to rule out the presence of OXA-48 or OXA-48-like enzymes, particularly in patients with a history of previous medical care in endemic regions.

Österblad M, Hakanen AJ, and Jalava J. Evaluation of the Carba NP Test for Carbapenemase Detection.

Antimicrob Agents Chemother. 2014; 58(12):7553.

van der Zwaluw, K., de Haan, A.,Pluister, GN, Bootsma, HJ, de Neeling, AJ, Schouls, LM. The carbapenem inactivation method (CIM), a simple and low-cost alternative for the Carba NP test to assess phenotypic carbapenemase activity in gram-negative rods. PLoS One. 2015; 10:e0123690

Tamma, PD, Opene, BNA, Gluck, A, Chambers, KK, Carroll, KC, Simner, PJ. A comparison of eleven phenotypic assays for the accurate detection of carbapenemase-producing Enterobacteriaceae.J Clin Microbiol. 2017; Accepted manuscript posted online 11 January 2017. DOI: 10.1128/JCM.02338-16

5.Gene Xpert Carba-R assay is FDA-approved for detection of carbapenemase genes from pure bacterial isolates and rectal surveillance swab specimens. Carbapenemase genes detected include those encoding KPC, NDM, VIM, OXA-48, and IMP (limited to the IMP-1 group) enzymes. The limitation of only detecting the IMP-1 group illustrates how variants of a gene could be missed; phenotypic tests (e.g. mCIM) for carbapenemase production are likely to detect these.

Tato, M, Ruiz-Garbajosa, P, Traczewski, M, Dodgson, A, McEwan, A, Humphries, R, Hindler, J, Veltman, J, Wang, H, Canton, R. Multisite evaluation of Cepheid Xpert Carba-R assay for detection of carbapenemase-producing organisms in rectal swabs. J Clin Microbiol. 2016; 54(7):1814-1819.

McMullen, AR, Yarbrough, ML, Wallace, MA, Shupe, A, Burnham, C-A. Evaluation of genotypic and phenotypic methods to detect carbapenemase production in gram-negative bacilli. Clin Chem 2017; 63.3:723-730.

Back to Table of Contents

# Section 4. Example language used in guidance to laboratories reporting CRE and CP-CRE to Public Health

Escherichia coli, from clinical specimen (including screening/surveillance cultures) and resistant to at least one carbapenem OR production of carbapenemase (e.g., Klebsiella pneumoniae carbapenemase [KPC], New Delhi metallo-β-lactamase [NDM], Verona integron-encoded metallo-β-lactamase [VIM], imipenemase [IMP] metallo-β-lactamase, OXA-48 carbapenemase) demonstrated by recognized test (e.g., polymerase chain reaction, metallo-β- lactamase test, modified Hodge test, Carba NP, CIM, mCIM, Xpert Carba-R). Include all susceptibility results (quantitative, and qualitative interpretation, breakpoints used), plus all results regarding phenotypic carbapenemase production (positive or negative), zone diameters and interpretation and results of resistance mechanism testing (positive or negative)

Enterobacter species, from clinical specimen (including screening/surveillance cultures) and resistant to at least one carbapenem OR production of carbapenemase (e.g., Klebsiella pneumoniae carbapenemase [KPC], New Delhi metallo-β-lactamase [NDM], Verona integron-encoded metallo-β-lactamase [VIM], imipenemase [IMP] metallo-β-lactamase, OXA-48 carbapenemase) demonstrated by recognized test (e.g., polymerase chain reaction, metallo-β- lactamase test, modified Hodge test, Carba NP, CIM, mCIM, Xpert Carba-R). Include all susceptibility results (quantitative, and qualitative interpretation, breakpoints used), plus all results regarding phenotypic carbapenemase production (positive or negative), zone diameters and interpretation and results of resistance mechanism testing (positive or negative)

Klebsiella species, from clinical specimen (including screening/surveillance cultures) and resistant to at least one carbapenem OR production of carbapenemase (e.g., Klebsiella pneumoniae carbapenemase [KPC], New Delhi metallo-β-lactamase [NDM], Verona integron-encoded metallo-β-lactamase [VIM], imipenemase [IMP] metallo-β-lactamase, OXA-48 carbapenemase) demonstrated by recognized test (e.g., polymerase chain reaction, metallo-β- lactamase test, modified Hodge test, Carba NP, CIM, mCIM, Xpert Carba-R). Include all susceptibility results (quantitative, and qualitative interpretation, breakpoints used), plus all results regarding phenotypic carbapenemase production (positive or negative), zone diameters and interpretation and results of resistance mechanism testing (positive or negative)

Back to Table of Contents

# Section 5. Considerations for Operationalization/ Implementation of Reporting of CP-CRE and CRE by Public Health Jurisdictions

Option A: Making both CRE and CP-CRE reportable to Public Health, as well as requiring isolate submission of CRE and CP-CRE to public health laboratory for additional characterization.

Pros:

- Allows for better case ascertainment if limited availability of phenotypic tests for carbapenemase production or resistance mechanism testing available in clinical and reference laboratories.

  - The Public health laboratory can further characterize these isolates.

  - Isolate submission and reporting to public health can be cross-referenced to enhance isolate submission and reporting to public health.

- Proportion of CRE that are CP-CRE can be determined for the various genera and by geographic location.  This likely will change over time.  This information can be helpful to infection preventionists in determining likelihood of a CRE being a CP-CRE.

Cons:

- Requires additional resources by submitting laboratories and public health laboratories; current funding (e.g., ARLN) mitigates this to some extent.

- Requires additional resources by public health staff

Option B: Making CP-CRE reportable to Public Health, as well as requiring isolate submissions of CRE and CP-CRE to public health laboratory for additional characterization.

- Isolate submissions: Require laboratories to conduct prescreening prior to submission.

  - This requires submitting laboratories to conduct phenotypic testing and/or molecular testing when available prior to isolate submission.

Pros:

- Minimizes state and federal laboratory burden of characterizing all CRE isolates

- Allows for better case ascertainment of CP-CRE

  - Isolate submission and reporting to public health can be cross-references to enhance isolate submissions and reporting to public health.

- Minimizes burden on healthcare facilities

  - Reduced CRE reporting

  - Prioritized infection control action (CRE vs. CP-CRE)

Cons:

- Requires submitting facilities to validate and implement carbapenemase production testing methods (added burden).

- Reduced ability to determine the proportion of CRE that are CP-CRE.

Option C: Making CRE and CP-CRE reportable to Public Health, with isolate submissions of CRE from sentinel labs and all CP-CRE isolates to public health laboratory for additional characterization.

Pros:

- Minimizes state and federal laboratory burden of characterizing all CRE isolates

- From sentinel labs, able to estimate proportion of CRE that are CP-CRE.

Cons:

- Requires submitting facilities to validate and implement carbapenemase production testing methods, unless sentinel lab.

- Reduced case ascertainment of CP-CRE if limited uptake of phenotypic CP detection and resistance mechanisms

Option D: Consider making both CRE and CP-CRE reportable to Public Health, with optional submission of CRE and CP-CRE to public health laboratory for additional characterization.

Pros:

- Optional shipment allows for better case ascertainment if limited availability of phenotypic tests for carbapenemase production or resistance mechanism testing.

  - The public health laboratory can further characterize these isolates.

  - Isolate submission and reporting to Public Health can be cross-referenced to enhance isolate submission and reporting to Public Health.

- Proportion of CRE that are CP-CRE can be determined for the various genera and by geographic location.  This likely will change over time.  This information can be helpful to infection preventionists in determining likelihood of a CRE being a CP-CRE.

- Not requiring isolate submission limits the burden of reporting on laboratories and public health staff while still providing an option for further characterization for facilities without additional testing capabilities

Cons:

- Requires additional resources by submitting laboratories and public health laboratories

- Requires additional resources by public health staff

- Reduced case ascertainment of CP-CRE if limited uptake of phenotypic CP detection and resistance mechanisms

Back to Table of Contents

# Section 6. Case investigation for CP-CRE

Details captured will depend on available resources and local epidemiology. If in low incidence area for CP-CRE, or in low incidence area for a novel resistance mechanism (e.g., OXA-48, VIM), then consider collecting the following information. Note: 12 month time-frame is more sensitive; 6 month exposure time-frame is more specific.

Exposures in last 12 months:

- Overseas travel , if yes - country(ies), dates of travel, and any healthcare exposures

- Complex medical devices (e.g., duodenoscopes) if yes - facility name, date(s) and type(s) of procedures performed (e.g., ERCP), type(s) of invasive devices(s) used

- Hemodialysis

- Long term care facility stay, if yes – facility name, date(s) of stay

- Long term acute care hospital (LTACH) stay, if yes – facility name and date(s) of stay

- Acute care hospital stay, if yes – facility name and date(s)

- Medical devices (catheters, foley, trach, etc) in place within 2 calendar days prior to culture?

Other details of interest:

- Was there evidence of infection, was CP-CRE isolate identified as part of a screening protocol, active surveillance testing, or contact investigation?

- Previous CP-CRE isolated?

- Was the individual transferred to another facility on discharge? If so, was information about CP-CRE status communicated to the transferring agency and admitting facility?

- Antibiotic exposures in last 30 days

If in low incidence area, consider adding:

- Exposure to healthcare in areas in US with high rates of CRE or CP-CRE during the past year

- Other healthcare exposures in past year, including admissions, surgeries, dialysis

Examples of case investigation forms from several jurisdictions (low incidence areas) can be found here:

- http://public.health.oregon.gov/DiseasesConditions/CommunicableDisease/ReportingCommunicableDisease/ReportingForms/Documents/cre_form.pdf

- http://www.doh.wa.gov/Portals/1/Documents/5100/420-098-ReportForm-CRE-Supplemental.pdf

Back to Table of Contents

# Section 7. Examples of displaying CRE/CP-CRE data by public health

- Washington state quarterly reports: http://www.doh.wa.gov/DataandStatisticalReports/DiseasesandChronicConditions/CommunicableDiseaseSurveillanceData

- Tennessee’s interactive iDashboard—see: http://www.tn.gov/health/topic/hai

Back to Table of Contents

# Section 8: Guidance on Time Intervals to Distinguish New Cases of CP-CRE

Criteria to distinguish a new case of this disease or condition from reports or notifications which should not be enumerated as a new case for surveillance

- Classify cases by clinical isolate vs. screening isolate (i.e., the intent/purpose of specimen collection)

  - Clinical Isolate

    - A new event should be counted after a 30 day interval since previous clinical isolate

    - Different organisms/species/carbapenemases are counted as separate events from other species/carbapenemases. The 30 day time interval does not apply.

  - Screening Isolate(i.e., rectal, perirectal, stool or other known screening/surveillance culture)

    - A new event should be counted after a 12 month interval since previous screening isolate

    - Different organisms/species/carbapenemases are counted as separate events from other species/carbapenemases. The 12 month time interval does not apply.

- If clinical isolate and colonization isolates are recovered from the same patient within same 30 day period, count once as clinical isolate

Back to Table of Contents

# Section 9: Definition of Suspect CP-CRE Case

STLT health departments may wish to include a definition of Suspect CP-CRE in addition to Confirmed CP-CRE.

Suspect CP-CRE Definition

E.coli, Klebsiella spp., or Enterobacter spp. that meets the phenotypic definition of Carbapenem resistant Enterobacteriaceae (CRE):

i.e., resistant to any carbapenem (minimum inhibitory concentrations of ≥4 mcg/ml for meropenem, imipenem, and doripenem or ≥ 2 mcg/ml for ertapenem)

| Criterion | SUSPECT Klebsiella spp | SUSPECT Escherichia coli | SUSPECT Enterobacter spp |
| --- | --- | --- | --- |
| Laboratory evidence |  |  |  |
| Klebsiella spp isolate from any clinical specimen, including screening/surveillance swabs | N |  |  |
| Escherichia coli isolate from any clinical specimen, including screening/surveillance swabs |  | N |  |
| Enterobacter spp. isolate from any clinical specimen, including screening/surveillance swabs |  |  | N |
| Resistant to any carbapenem (minimum inhibitory concentrations of≥4 mcg/ml for meropenem, imipenem, and doripenem or ≥ 2 mcg/ml for ertapenem) | N | N | N |
| Criteria to distinguish a new case |  |  |  |
| For clinical isolates, a new event should be counted after a 30 day interval since previous clinical isolate | N | N | N |
| Different organism/species/ carbapenemases are counted as separate events from other species/ carbapenemases (30 day time interval does not apply) | N | N | N |
| If clinical isolate and colonization (screening/surveillance) isolates are recovered from the same patient within same 30 day period, count once as clinical isolate | N | N | N |
| For colonization (screening/surveillance culture), count organism/ species/carbapenemases only once every 12 months | N | N | N |

Notes:

S = This criterion alone is Sufficient to classify a case.

N = All ―N‖ criteria in the same column are Necessary to classify a case. A number following an ―N‖ indicates that this criterion is only required for a specific disease/condition subtype (see below).

A = This criterion must be absent (i.e., NOT present) for the case to meet the classification criteria.

O = At least one of these ―O‖ (Optional) criteria in each category (e.g., clinical evidence and laboratory evidence) in the same column—in conjunction with all ―N‖ criteria in the same column—is required to classify a case. (These optional criteria are alternatives, which means that a single column will have either no O criteria or multiple O criteria; no  column should have only one O.) A number following an ―O‖ indicates that this criterion is only required for a specific disease/condition subtype.

Back to Table of Contents

# Section 10: Sub-classification of Suspect Cases into: (a) Likely non CP-CRE and (b) Insufficient Information to Classify as CP-CRE or Likely non-CP-CRE

STLT Health departments may choose to sub-classify suspect cases into:

- likely non-CP-CRE or (b) insufficient information

- Likely non-CP-CRE

    - Negative mCIM

    - Negative Carba NP and negative PCR for OXA-48

    - Negative CIM and negative PCR for OXA-48

    - Negative PCR for KPC, NDM, OXA-48, VIM, and IMP

    - Negative Xpert Carba-R

(b) Insufficient information to classify as CP-CRE or likely non-CP-CRE

    - No other recognized test performed and/or isolate no longer available

    - Enterobacter spp. and positive MHT and no other tests performed/ isolate no longer available

    - Combination of tests performed/ results do not allow for classification as likely non-CP-CRE

Infection Control Implications

- Likely non-CP-CRE: Standard Precautions + Contact Precautions (+ additional transmission- based precautions per patient status (e.g. Droplet). Interfacility communication

- Insufficient information to classify as CP-CRE or likely non-CP-CRE: Standard Precautions + Contact Precautions (+ additional transmission-based precautions per patient status (e.g. Droplet) + strongly consider more aggressive interventions (e.g. screening, cohorting of staff/patients); based on the clinical circumstance, patient history of travel, and local CRE epidemiology. Interfacility communication

Table VII-B. Criteria for defining a case of likely non-CP-CRE

| CRITERION | Likely Non-CP-CRE |  |  |
| --- | --- | --- | --- |
|  | Klebsiella spp | E.coli | Enterobacter spp |
| Laboratory evidence |  |  |  |
| Klebsiella spp. isolate from any clinical specimen, including screening/surveillance swabs | N |  | N |
| Escherichia coli isolate from any clinical specimen, including screening/surveillance swabs |  | N |  |
| Enterobacter spp. isolate from any clinical specimen, including screening/surveillance swabs |  |  | N |
| Resistant to any carbapenem (minimum inhibitory concentrations of ≥4 mcg/ml for meropenem, imipenem, and doripenem or ≥ 2 mcg/ml for ertapenem) | N | N | N |
| mCIM negative | S | S | S |
| PCR for KPC, NDM, OXA-48, VIM and IMP negative | S | S | S |
| Xpert Carba-R negative | S | S | S |
| CarbaNP negative and PCR for OXA-48 negative | S | S | S |
| CIM negative and PCR for OXA- 48 negative | S | S | S |
| Criteria to distinguish a new case |  |  |  |
| For clinical isolates, a new event should be counted after a 30 day interval since previous clinical isolate | N | N | N |
| Different organism/species are counted as separate events from other species (30 day time interval does not apply) | N | N | N |
| If clinical isolate and colonization isolates are recovered from the same patient within same 30 day period, count once as clinical isolate | N | N | N |
| For colonization (screening culture), count organism/ species only once every 12 months | N | N | N |

Please see section 3 for additional information on test performance characteristics of MHT, CarbaNP,Xpert Carba-R CIM and mCIM.

Notes:

S = This criterion alone is Sufficient to classify a case.

N = All ―N‖ criteria in the same column are Necessary to classify a case. A number following an ―N‖ indicates that this criterion is only required for a specific disease/condition subtype (see below).

A = This criterion must be absent (i.e., NOT present) for the case to meet the classification criteria.

O = At least one of these ―O‖ (Optional) criteria in each category (e.g., clinical evidence and laboratory evidence) in the same column—in conjunction with all ―N‖ criteria in the same column—is required to classify a case. (These optional criteria are alternatives, which means that a single column will have either no O criteria or multiple O criteria; no  column should have only one O.) A number following an ―O‖ indicates that this criterion is only required for a specific disease/condition subtype.

Back to Table of Contents

Table VII-B. Criteria for defining a case of CP-CRE – Insufficient Information to Classify as     CP-CRE or Likely non-CP-CRE

| CRITERION | INSUFFICIENT INFORMATION TO CLASSIFY AS CP-CRE OR LIKELY NON-CP-CRE |  |  |  |
| --- | --- | --- | --- | --- |
|  | Klebsiella spp. | E.coli | Enterobacter spp. | Unknown organism |
| Laboratory evidence |  |  |  |  |
| Klebsiella spp. isolate from any clinical specimen, including screening/surveillance swabs | N |  |  |  |
| Escherichia coli isolate from any clinical specimen, including screening/surveillance swabs |  |  |  |  |
| Enterobacter spp. isolate from any clinical specimen, including screening/surveillance swabs |  |  | N |  |
| Resistant to any carbapenem (minimum inhibitory concentrations of ≥4 mcg/ml for meropenem, imipenem, and doripenem or ≥ 2 mcg/ml for ertapenem) | N | N | N |  |
| No phenotypic carbapenemase test performed, and incomplete testing of known resistance mechanisms (KPC, NDM, OXA-48, VIM, IMP) and these are negative (e.g.. KPC neg, NDM neg) |  |  |  |  |
| mCIM indeterminate and negative by PCR (e.g.,Xpert Carba-R) for all known resistance mechanisms (KPC, NDM, OXA-48, VIM, IMP) and no other tests performed (should refer isolate for CarbaNP testing) | S | S | S |  |
| MHT positive and no other tests performed |  |  | S |  |
| Isolate not available (unknown genus/species) but positive for resistance mechanism testing (e.g., Carba R PCR positive for resistance mechanism) |  |  |  | N |
| Criteria to distinguish a new case |  |  |  |  |
| For clinical isolates, a new event should be counted after a 30 day interval since previous clinical isolate | N | N | N | N |
| Different organism/species are counted as separate events from other species (30 day time interval does not apply) | N | N | N | N |
| If clinical isolate and colonization isolates are recovered from the same patient within same 30 day period, count once as clinical isolate | N | N | N | N |
| For colonization (screening culture), count organism/ species only once every 12 months | N | N | N | N |

Please see Section 3 for additional information on test performance characteristics of MHT, CarbaNP, Xpert Carba-R CIM and mCIM.

# Section 11. Expanded Definition of CP-CRE

For jurisdictions that would like to capture other CP-CRE (beyond the big three: E. coli, Klebsiella spp., Enterobacter spp.), we recommend adding a 4th event: “CP-CRE: Other” to the 3 other event codes

VI: Criteria for case identification

Other Enterobacteriaceae (apart from E.coli, Enterobacter spp., Klebsiella spp.):

Resistant to any carbapenem (minimum inhibitory concentrations of ≥4 mcg/ml for meropenem, imipenem*, and doripenem or ≥ 2 mcg/ml for ertapenem)

OR

Production of a carbapenemase (e.g., KPC, NDM, VIM, IMP, OXA-48) demonstrated by a recognized test (e.g., polymerase chain reaction, metallo-β-lactamase test, modified Hodge test, Carba NP, Carbapenem Inactivation method (CIM) modified CIM (mCIM), Xpert Carba-R)

Report to public health authorities a person whose healthcare record contains a diagnosis of CRE, CP- CRE, KPC, NDM, OXA-48, IMP or VIM or a person whose death certificate lists CRE, CP-CRE, KPC, NDM, OXA-48, IMP or VIM as a cause of death or significant condition contributing to death.

* Note: do not use imipenem for Proteus spp., Providencia spp. and Morganella spp.

# Table VI b: Table of criteria to determine whether a case should be reported to public health authorities

| Criterion | Other CRE/CP-CRE Proteus spp., Providencia spp., and Morganella spp. | Other CRE/CP-CRE | Other CRE/CP-CRE |
| --- | --- | --- | --- |
| Laboratory Evidence |  |  |  |
| Proteus spp., Providencia spp., and Morganella spp. | N |  | O |
| Other Enterobacteriaceae (non Klebsiella spp., E coli, Enterobacter spp., Proteus spp., Providencia spp., Morganella spp.) |  | N | O |
| Resistant to imipenem, meropenem, or doripenem (MIC ≥4 mcg/ml) |  | O |  |
| Criterion | Other CRE/CP-CRE Proteus spp., Providencia spp., and Morganella spp. | Other CRE/CP-CRE | Other CRE/CP-CRE |
| Resistant to meropenem or doripenem (excluding imipenem) (MIC ≥4 mcg/ml) | O |  |  |
| Resistant to ertapenem (MIC ≥ 2 mcg/ml) | O | O |  |
| PCR for KPC positive |  |  | O |
| PCR for NDM positive |  |  | O |
| PCR for OXA-48 positive |  |  | O |
| PCR for IMP positive |  |  | O |
| PCR for VIM positive |  |  | O |
| Carba NP positive |  |  | O |
| Metallo-β-lactamase testing (e.g., E-test) positive |  |  | O |
| Modified Carbapenem Inactivation Method (mCIM) positive or indeterminate |  |  | O |
| Carbapenem Inactivation Method (CIM) positive |  |  | O |
| Xpert Carba-R positive |  |  | O |
| Positive for phenotypic carbapenemase production (e.g., mCIM, CIM, CarbaNP) but negative by PCR (including Xpert Carba-R) for all known resistance mechanisms (KPC, NDM, OXA-48, VIM, IMP) i.e., likely novel carbapenemase |  |  | O |

Please see Section 3 for additional information on test performance characteristics of MHT, CarbaNP, Xpert Carba-R CIM and mCIM.

Laboratory Criteria

- Confirmed CP-CRE:

Other Enterobacteriaceae (non- E.coli, Klebsiella spp, Enterobacter spp.) where the isolate is:

Positive for known carbapenemase resistance mechanism (e.g., KPC, NDM, VIM, IMP, OXA-48) demonstrated by a recognized test (e.g., polymerase chain reaction (PCR), Xpert Carba-R)

OR

Positive on a phenotypic test for carbapenemase production (e.g,, metallo-β-lactamase test, modified Hodge test, Carba NP, Carbapenem Inactivation Method (CIM), or modified CIM (mCIM)).

Notes:

1)  Cases involving isolates that are phenotypically positive for carbapenemase production (e.g., mCIM), but negative for KPC, NDM, OXA-48, VIM, and IMP should be counted as confirmed CP-CRE.  Isolates should be submitted to the regional laboratories of the ARLN for further characterization (potential novel carbapenemase).

2) A positive Modified Hodge Test (MHT) can be used to confirm CP-CRE, An isolate that tests positive on MHT but negative PCR for KPC, NDM, OXA-48, VIM and IMP should have additional characterization performed with another phenotypic test for carbapenemase such as mCIM

3)  If isolate is indeterminate on mCIM and negative by PCR for KPC, NDM, OXA-48, VIM and IMP, isolate should be tested using CarbaNP (at state public health laboratory or regional ARLN lab)

STLT Health departments may choose to also classify cases as suspect CP-CRE

- Suspect Case of CP-CRE:

Other Enterobacteriaceae (non- E.coli, Klebsiella spp., Enterobacter spp.) that meets the phenotypic definition of CRE:

i.e., resistant to any carbapenem (minimum inhibitory concentrations of ≥4 mcg/ml for meropenem, imipenem*, and doripenem or ≥ 2 mcg/ml for ertapenem)

* Note: do not use imipenem for Proteus spp., Providencia spp. and Morganella spp.

STLT health departments may choose to sub-classify suspect cases into:

- likely non-CP-CRE

- insufficient information to classify as CP-CRE or likely non-CP-CRE

Criteria to distinguish a new case of this disease or condition from reports or notifications which should not be enumerated as a new case for surveillance

- Classify cases by clinical isolate vs. screening isolate (i.e., the intent/purpose of specimen collection)

  - Clinical Isolate

    - A new event should be counted after a 30 day interval since previous clinical isolate

    - Different organisms/species/carbapenemases are counted as separate events from other species/carbapenemases. The 30 day time interval does not apply.

  - Screening Isolate(i.e., rectal, perirectal, stool or other known screening/surveillance culture)

    - A new event should be counted after a 12 month interval since previous screening isolate

    - Different organisms/species/carbapenemases are counted as separate events from other species/carbapenemases. The 12 month time interval does not apply.

- If clinical isolate and colonization isolates are recovered from the same patient within same 30 day period, count once as clinical isolate

B. Classification Tables

Table VII-B. Criteria for defining a case of CP-CRE (non E. coli, Klebsiella spp. or Enterobacter spp.) (includes Suspect category)

| Criterion | SUSPECT | SUSPECT Proteus spp., Providencia spp., Morganella spp. | CONFIRMED CP-CRE |
| --- | --- | --- | --- |
| Laboratory evidence |  |  |  |
| Proteus spp., Providencia spp., Morganella spp. |  | N |  |
| Other Enterobacteriaceae (non Klebsiella spp., E coli, Enterobacter spp., Proteus spp., Providencia spp., Morganella spp.) | N |  |  |
| Resistant to any carbapenem (minimum inhibitory concentrations of≥4 mcg/ml for meropenem, imipenem, and doripenem or ≥ 2 mcg/ml for ertapenem) | N |  |  |
| Resistant to meropenem or doripenem (excluding imipenem) (MIC ≥4 mcg/ml) |  | N |  |
| PCR for KPC positive |  |  | O |
| PCR for NDM positive |  |  | O |
| PCR for OXA48 positive |  |  | O |
| PCR for VIM positive |  |  | O |
| PCR for IMP positive |  |  | O |
| Xpert Carba-R positive |  |  | O |
| mCIM positive |  |  | O |
| Carba NP positive |  |  | O |
| CIM positive |  |  | O |
| Metallo-β-lactamase test (e.g.,MBL E-test) positive |  |  | O |
| Positive for phenotypic carbapenemase production (e.g., mCIM, CIM, CarbaNP) but negative by PCR (including Xpert Carba-R) for all known resistance mechanisms (KPC, NDM, OXA-48, VIM, and IMP) i.e., likely novel carbapenemase |  |  | O |
| mCIM indeterminate and negative by PCR (e.g.,Xpert Carba-R) for all known resistance mechanisms (KPC, NDM, OXA-48, VIM, IMP) and no other tests performed (should refer isolate for CarbaNP testing) | O | O |  |
| Criteria to distinguish a new case |  |  |  |
| For clinical isolates, a new event should be counted after a 30 day interval since previous clinical isolate | N | N | N |
| Different organism/species/ carbapenemases are counted as separate events from other species/ carbapenemases (30 day time interval does not apply) | N | N | N |
| If clinical isolate and colonization (screening/surveillance) isolates are recovered from the same patient within same 30 day period, count once as clinical isolate | N | N | N |
| For colonization (screening/ surveillance culture), count organism/ species/carbapenemases only once every 12 months | N | N | N |

*Other tests performed include: PCR for KPC, NDM, OXA-48, VIM, IMP or modified Hodge test (MHT), Carba NP, CIM, mCIM, Xpert Carba-R or metallo-ß-lactamase. Please see SECTION 3 for additional information on test performance characteristics of MHT, CarbaNP, Xpert Carba-R, CIM and mCIM.

S = This criterion alone is Sufficient to classify a case.

N = All “N” criteria in the same column are Necessary to classify a case. A number following an “N” indicates that this criterion is only required for a specific disease/condition subtype (see below). If the absence of a criterion (i.e., criterion NOT present) is required for the case to meet the classification criteria, list the Absence of criterion as a Necessary component.

O = At least one of these “O” (One or more) criteria in each category (e.g., clinical evidence and laboratory evidence) in the same column—in conjunction with all “N” criteria in the same column—is required to classify a case. (These “O” criteria are alternatives, which means that a single column will have either no O criteria or multiple O criteria; no column should have only one O.)  A number following an “O” indicates that this criterion is only required for a specific disease/condition subtype

Laboratory interpretation Note: Serratia marcescens isolates carry the sme Class A carbapenemase gene. Also, some Enterobacter cloacae carry similar genes which are imi and nmc-A which share 97% amino acid identity. All of these genes are chromosomally located but acquired. These carbapenemases also result in positive Carba NP and mCIM tests.

Back to Table of Contents

# Section 12. Diagram illustrating ARLN interaction: Clinical Laboratories, State Public Health Laboratories and Regional Labs

Back to Table of Contents

# Section 13. Best Practices for Surveillance of Antimicrobial Resistance via Electronic Laboratory Reporting

Best Practices for Surveillance of Antimicrobial Resistance via Electronic Laboratory Reporting

Recommendations from the CSTE AR/ELR Working Group, June 2017

Many surveillance initiatives, such as monitoring new and reemerging antimicrobial resistance (e.g., Carbapenem-Resistant Enterobacteriaceae (CRE)), are conducted entirely based on laboratory observation findings and are only made possible through electronic laboratory reporting (ELR), since manual data collection processes are too resource intensive. In November 2016, CSTE convened an AR/ELR Workgroup to focus on best practices and issues related to capturing CRE in HL7 2.5.1 standard format for reporting purposes to Public Health Agencies (PHA).

The purpose of this document is to capture AR/ELR workgroup members’ experience with receiving and processing CRE ELRs from laboratories and recommend related best practices for working with laboratories and CRE ELR messages. This document focuses on laboratory reporting only; reporting from providers is outside of its scope. PHAs are the primary audience for these best practices, but many recommendations are closely tied to laboratory systems and practices and may be applicable to those settings. Although the focus of the workgroup is on CRE reporting, these best practices may also be applicable to surveillance for other antimicrobial resistant organisms.

# Communicating with Labs

## State health agencies should clearly communicate with laboratories regarding reporting requirements for CRE. This communication should include:

- Whether CRE is reportable in their jurisdiction

- Their jurisdiction’s surveillance definition for CRE. Note that this may differ from clinical definitions. The current CSTE position statement definition is as follows:

  - Carbapenem-Resistant Enterobacteriaceae (CRE): Any organism in the Enterobacteriaceae family that is resistant to at least one carbapenem antibiotic (i.e. doripenem, ertapenem, imipenem, meropenem).

  - Carbapenemase-Producing Carbapenem-Resistant Enterobacteriaceae (CP-CRE): Any organism in the Enterobacteriaceae family that tests positive for carbapenemase production (e.g. KPC, VIM, NDM, IMP, OXA-48-like) by a phenotypic (e.g. CarbaNP, mCIM, modified Hodge) OR tests positive for a known carbapenemase resistance mechanism by a recognized test (e.g. PCR, Xpert Carba-R).

- When to report CRE

- How to report: see HL7 ELR Implementation Guide

- Whom to contact at the public health jurisdiction for questions regarding testing methods and reporting

Examples of written guidance for labs (See Appendix C):

- Massachusetts

- New Mexico

- Indiana

## State health agencies should also be aware of laboratory practices that may impact the quality of ELR messages for CRE. These may include:

- Differences among laboratories in how CRE ELR messages are triggered. If the lab is able to automate CRE ELR messaging, this will require less work for the lab and reduce opportunities for missed reports. However, some labs will need to trigger ELRs manually, depending on a jurisdiction’s definition of CRE and its complexity.

- Laboratory compliance with current CLSI guidelines for MIC values. The use of outdated MIC breakpoints can affect the interpretation of test results, especially for qualitative results.

- Suppression of certain resistance test results according to CLSI guidelines and/or clinical formularies. This may result in missing test results for some antimicrobials of interest to PHAs or inability to identify cases and report them to PHA.

## A survey of labs may be helpful to understand the test methods and breakpoints labs are using to identify CRE. Survey items may include:

- Laboratory’s knowledge of CRE reportability and plans for reporting

- Capacity to identify organisms and perform susceptibility and carbapenemase testing

- Capacity to send test results via ELR, including version of HL7 ELR messages

- Tests used to identify organisms

- Tests and MIC interpretive criteria and or zone diameter interpretive criteria used to identify antimicrobial susceptibility

- Carbapenemase confirmatory tests

- Practices for sending isolates to other labs for additional testing

- The approximate number of Enterobacteriaceae results produced by the laboratory during a specific time period

# Receiving and Processing HL7 ELR Messages

To fully assess antimicrobial resistance and categorize resistance properly, public health agencies need to receive enough information about resistance testing for specific organisms. This includes: 1) the antimicrobial/bactericidal agent being tested; 2) the method of testing (K-B, MIC, etc.); 3) the actual quantitative and qualitative results and interpretations. This information is used to monitor for multi-drug resistant organisms that require stronger antibiotics to treat infections.

Specific fields in the HL7 message allow for the CRE report (and other susceptibilities) to be reported to PHA. The message(s) used to report CRE (and other susceptibilities) should contain the organism, antibiotic susceptibilities, and the specimen source. The parent observation is the identified organism (e.g. Klebsiella pneumoniae) and the child observation is the antibiotic susceptibility results. The child observation should list all antibiotics tested against the organism, the measured MIC values, and the phenotypic interpretation (e.g. drug 1 … <1  ug/mL susceptible, drug 2 …  = 2 ug/mL intermediate, drug 3 … >= 16 ug/mL resistant).

In order to link the parent-child observations together, the child OBR should contain a sub_id, sent in the child OBR 26.3, that links with the correct organism sub_id located in the parent OBX 4. The child OBR should also contain the parent filler order number and placer order number located in the OBR 29.2 and OBR 29.1 that matches the parent filler order number and placer order number located in the parent OBR 3.

http://www.hl7.org/implement/standards/product_brief.cfm?product_id=98

Simplified Example:

Message Type (HL7 2.5.1)

Example: Multiple OBR segments, has parent and child information MSH PID ORC OBR 1 OBX 1 OBX 2 SPM (such as a culture) OBR 2 (OBR-26 (Parent Result Link) and OBR-29 (Parent)) OBX 1 OBX 2 SPM (such as a bacterial isolate)

Counterexample: Multiple OBR segments, no parent and child information MSH PID ORC OBR 1 OBX 1 OBX 2 OBR 2 OBX 1 OBX 2

See Appendix D for additional examples of actual HL7 ELR messages for CRE. See Appendix E for additional guidance on parent-child relationships for culture and susceptibility testing.

Links to HL7 Implementation Guides:

HL7 2.5.1 for ELR is the ideal message structure for sending antimicrobial resistance messages, as it allows for the capturing of parent-child relationships in a more complete fashion than using HL7 2.3.1. Culture and susceptibility reporting is outlined in Appendix A of the R1 ELR IG.

HL7 Version 2.5.1 Implementation Guide: Electronic Laboratory Reporting to Public Health, Release 1 (US Realm) HL7 Version 2.5.1: ORU^R01: http://www.hl7.org/implement/standards/product_brief.cfm?product_id=98

Section of Parent/child, Culture and Susceptibilities should be noted.

Errata for V251 Implementation Guide: Electronic Laboratory Reporting to Public Health (US Realm), Release 1

http://www.hl7.org/implement/standards/product_brief.cfm?product_id=245

HL7 Version 2.5.1 Implementation Guide: S&I Framework Lab Results Interface, Release 1- US Realm*

http://www.hl7.org/implement/standards/product_brief.cfm?product_id=279

*A newer version of this implementation guide is currently in HL7 Ballot and is expected to be published later in 2017. This newer version will actually harmonize the Lab Ordering and Lab Results interfaces and will also include profiles to support more specific lab reporting use cases, including reporting to public health. This public health profile will in effect replace, or serve as an update to the previously referenced ELR implementation guide, list above. Once published, this document will be made available at http://www.hl7.org/implement/standards/product_matrix.cfm?ref=nav

## Commonly observed deficiencies in received HL7 ELR messages:

- No utilization of parent/child linking of susceptibility labs to the organism(s), or parent/child relationships are used incorrectly. Without proper parent/child linkages, determining which susceptibility results go with each identified organism may be difficult without the verification of paper laboratory results. See Appendix D on parent-child guidance.

  - Recommendation: Make sure facilities are submitting the correct linking values and the jurisdictions have the capabilities to utilize the parent/child result to link the susceptibility test to the organism.

- Missing organism. Organism information is needed for public health to determine new versus recurrent cases.

  - Example: A reference lab may test for resistance mechanism but not for the organism, so a received report may only include the mechanism report and not be linked the original organism result.

  - Recommendation: Organism information should be sent.

- Missing specimen information: specimen source site (SPM8), specimen type, etc. Specimen information is needed to determine the timeframe for defining a case as new or recurrent.

  - Recommendation: Specimen information should be sent.

- Results are sent in NTE segments.

  - Recommendation: All results should be sent in an OBX segment; quantitative results should be sent in a numeric or structured numeric segment. Qualitative results should be sent in an OBX segment, perhaps using a CE or CWE data type, using national standard vocabulary such as LOINC and/or SNOMED. NTE segments should not be used to communicate important information.

- Comments are sent in multiple result (OBX) segments. This can result in potentially important information not being communicated to downstream systems. If the information does come through, use of multiple OBX segments can make reading results difficult.

  - Example: OBX|7 “identification and susceptibility,” OBX|8 “Testing to follow”

  - Recommendation: Placing comments in NTE segments rather than OBX segments. When there are multiple OBXs, use the OBX|4 (observation sub-id) to group related OBXs

## Issues with LOINC and SNOMED codes

- Generic LOINC codes may be used, making it difficult for system to classify results correctly. Culture tests where LOINC codes are used are “generic” and require SNOMED codes in order to properly classify the results to the correct condition without being done manually. Positive culture results cannot be received by systems if generic LOINC codes are used without SNOMED codes.

  - Recommendation: utilize standard specific LOINC and SNOMED codes that can assist in properly identifying CRE, and work with laboratory and epidemiology staff to ensure that the selected codes are correct.

    - LOINC Code look up: https://search.loinc.org/

    - SNOMED Code look up:

http://www.snomedbrowser.com/

https://uts.nlm.nih.gov//snomedctBrowser.html

- LOINC codes that do not specify the method used (e.g. disk diffusion, broth dilution/MIC, ETest, etc.)

  - Recommendation: Labs should use method-specific LOINC codes.

## Minimum Inhibitory Concentration (MIC) values.

## Both MIC values and interpretations are needed by the PHA. MIC values are needed for trend data, which would be lost if only phenotypic interpretations are collected and the CLSI breakpoints used to determine those interpretations change over time.

- Missing MIC values

  - Recommendation: Use the most current CLSI guidelines (M100-S27) for MIC breakpoints, available at http://clsi.org/m100/ (free web version).

- Reference lab reporting of MIC values may be affected by their clients’ limitations, such as their willingness and ability to receive MIC values. If ordering providers are not willing or able to receive MIC values, they may not be entered in the LIMS and reference labs may not be able to send these directly to PHAs.

## Issues with sending laboratory’s LIM system

- Missing carbapenemase results. Lack of carbapenemase testing results (MHT/CarbaNP, molecular panels, PCR). Facilities may be performing carbapenemase testing but not sending results to PHAs. This results in PHAs not knowing the resistance mechanism for CRE cases and needing to contact facilities to find out the testing mechanism. Some labs may report these results in comments. Reports may say “carbapenemase production” without including what tests were used to come to that conclusion, or the lab may not have run the appropriate tests.

  - Recommendation: PHAs should understand which labs in your jurisdiction are performing these tests. If a carbapenemase test is done, labs should send results, whether positive or negative.

- Ambiguous notes/comments which may or may not indicate that carbapenemase testing was performed. Some labs perform carbapenemase testing while others make assumptions about carbapenemase production based on overall phenotype. ELR message comments may not always make it clear whether a test was performed or not.

  - Examples: “Demonstrates production of a carbapenemase,” “Likely carbapenemase producer”

  - Recommendation: PHAs should request that labs include confirmatory carbapenemase test results as “child” linkages to the “parent” organism ID. If this isn’t possible, PHAs should be aware of what carbapenemase test (if any) a lab uses, and what phenotypes trigger its use.

Back to Table of Contents

Appendices:

## Glossary of terms:

Electronic Laboratory Reporting (ELR)

Public Health Agencies (PHA)

##### Carbapenem-Resistant Enterobacteriaceae (CRE)

Carbapenemase-Producing Carbapenem-Resistant Enterobacteriaceae (CP-CRE)

Minimum inhibitory concentrations (MIC)

##### Clinical and Laboratory Standards Institute (CLSI)

Health Level Seven (HL7)

Logical Observation Identifiers Names and Codes (LOINC)

Systematized Nomenclature of Medicine (SNOMED)

## Additional resources:

## Laboratory Protocol for Detection of Carbapenem-Resistant or Carbapenemase-Producing, Klebsiella spp. and E. coli from Rectal Swabs: https://www.cdc.gov/HAI/pdfs/labSettings/Klebsiella_or_Ecoli.pdf

## CDC technical standards resources: https://www.cdc.gov/elr/technicalstandards.html

## Sample written guidance for laboratories

- Massachusetts

- New Mexico

- Indiana

## Examples of HL7 ELR messages for CRE

## Parent/Child ELR Relationship for Culture and Susceptibility testing

Back to Table of Contents

Sample HL7 2.5.1 ELR for CRE

Sample HL7 2.3.1 ELR for CRE

Sample HL7 2.3.1 ELR for CRE

Parent/Child ELR Relationship for Culture and Susceptibility testing

Background: The use of a parent/child relationships is to link together child sensitivity results to the parent culture results. This is important in public health surveillance to determine the resistance of organisms to different types of medications. These results are used to monitor for super-bugs that require stronger antibiotics to treat simple infections.

In HL7 2.5.1 structure, this can be done in the observation request (OBR) segment of the HL7 message by linking the parent filler order number located in OBR 3 to the child Parent sequence located in OBR 29.2 (See example below with segments highlighted).

MSH|^~\&|NIST^2.16.840.1.113883.3.72.5.20^ISO|NIST^2.16.840.1.113883.3.72.5.21^ISO|NIST^2.16.840.1.113883.3.72.5.22^ISO|NIST^2.16.840.1.113883.3.72.5.23^ISO|20120821140551-0500||ORU^R01^ORU_R01|NIST-ELR-004.01|T|2.5.1|||NE|NE|||||PHLabReport-NoAck^HL7^2.16.840.1.113883.9.11^ISO

SFT|NIST Lab, Inc.^L^^^^NIST&2.16.840.1.113883.3.987.1&ISO^XX^^^123544|3.6.23|A-1 Lab System|6742873-12||20100617

PID|1||PATID1234^^^&2.16.840.1.113883.3.72.5.24&ISO^MR^Seminole Cnty Hlth C&2.16.840.1.113883.3.0&ISO||Jones^William^A^^^^L||19610615|M||2106-3^White^CDCREC|1955 Seminole Lane^^Oveido^FL^32765^USA^H^^12059||^PRN^PH^^1^407^2351234|||||||||N^Not Hispanic or Latino^HL70189^NL^not latino^L^2.5.1

ORC|RE|ORD723222-4^^2.16.840.1.113883.3.72.5.24^ISO|R-783274-4^LIS^2.16.840.1.113883.3.72.5.25^ISO|||||||||57422^RADON^NICHOLAS^^^Dr.^^^NPI&2.16.840.1.113883.4.6&ISO^L^^^NPI||^PRN^PH^^^407^2341212|||||||Seminole County Health Clinic|555 Orange Ave^^Oviedo^FL^32765^^B|^WPN^PH^^^813^8847284|555 Orange Ave^^Oviedo^FL^32765^^B

OBR|1|ORD723222-4^^2.16.840.1.113883.3.72.5.24^ISO|R-783274-4^LIS^2.16.840.1.113883.3.72.5.25^ISO|625-4^Bacteria identified in Stool by Culture^LN^3456543^CULTURE STOOL^99USI^2.40|||20110528|||||||||57422^RADON^NICHOLAS^^^Dr.^^^NPI&2.16.840.1.113883.4.6&ISO^L^^^NPI|^PRN^PH^^^407^2341212|||||201106010900-0500|||F

OBX|1|CWE|625-4^Bacteria identified in Stool by Culture^LN^Bacteria identified^Bacteria identified^99USI^2.40|1|85729005^Shigella flexneri^SCT^^^^^^Shigella flexneri||||||F|||20110528|||||20110531130655-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI
SPM|1|^ORD723222-4&&2.16.840.1.113883.3.72.5.24&ISO||119339001^Stool specimen^SCT^^^^07/31/2012|||||||||||||20110528|20110529 
OBR|2||R-783274-5^LIS^2.16.840.1.113883.3.72.5.25^ISO|50545-3^Bacterial susceptibility panel in Isolate by Minimum inhibitory concentration (MIC)^LN^Bact suscept^Bacteria susceptibility^99USI^2.40|||20110528|||||||||57422^RADON^NICHOLAS^^^Dr.^^^NPI&2.16.840.1.113883.4.6&ISO^L^^^NPI|^PRN^PH^^^407^2341212|||||201106010900-0500|||F|625-4&Bacteria identified in Stool by Culture&LN&Bacteria identified&Bacteria identified&99USI^^Shigella flexneri|||^R-783274-4&LIS&2.16.840.1.113883.3.72.5.25&ISO 
OBX|1|SN|20-8^Amoxicillin+Clavulanate [Susceptibility] by Minimum inhibitory concentration (MIC)^LN^AmoxClav^Amoxicillin-clavulanic acid^99USI^2.40||=^16|ug/mL^microgram per milliliter^UCUM^^^^1.8.2||I^Intermediate^HL70078^^^^2.5.1|||F|||20110528|||||201106010900-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI
OBX|2|SN|516-5^Trimethoprim+Sulfamethoxazole [Susceptibility] by Minimum inhibitory concentration (MIC)^LN^TMP-SMX^Trimethoprim-sulfamethoxazole^99USI^2.40||=^8^/^152|ug/mL^microgram per milliliter^UCUM^^^^1.8.2||R^Resistant^HL70078^^^^2.5.1|||F|||20110528|||||201106010900-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI OBX|3|SN|185-9^Ciprofloxacin [Susceptibility] by Minimum inhibitory concentration (MIC)^LN^CIPROFLOXACIN^CIPROFLOXACIN^99USI^2.40||<=^0.06|ug/mL^microgram per milliliter^UCUM^^^^1.8.2||S^Susceptible^HL70078^^^^2.5.1|||F|||20110528|||||201106010900-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI

When a culture grows more than one organisms, the message sent may contain multiple susceptibility (child) results, one susceptibility result group for each organism. To make sure the child results successfully link to the correct parent results, the child OBR segment should contain a sub_id, sent in the Parent Result sequence located in OBR 26.2, that links with the correct organism sub_id located in the parent result’s OBX 4 segment, sub_id (see example below with segments highlighted in green).

MSH|^~\&|NIST^2.16.840.1.113883.3.72.5.20^ISO|NIST^2.16.840.1.113883.3.72.5.21^ISO|NIST^2.16.840.1.113883.3.72.5.22^ISO|NIST^2.16.840.1.113883.3.72.5.23^ISO|20120821140551-0500||ORU^R01^ORU_R01|NIST-ELR-004.01|T|2.5.1|||NE|NE|||||PHLabReport-NoAck^HL7^2.16.840.1.113883.9.11^ISO

SFT|NIST Lab, Inc.^L^^^^NIST&2.16.840.1.113883.3.987.1&ISO^XX^^^123544|3.6.23|A-1 Lab System|6742873-12||20100617

PID|1||PATID1234^^^&2.16.840.1.113883.3.72.5.24&ISO^MR^Seminole Cnty Hlth C&2.16.840.1.113883.3.0&ISO||Jones^William^A^^^^L||19610615|M||2106-3^White^CDCREC|1955 Seminole Lane^^Oveido^FL^32765^USA^H^^12059||^PRN^PH^^1^407^2351234|||||||||N^Not Hispanic or Latino^HL70189^NL^not latino^L^2.5.1

ORC|RE|ORD723222-4^^2.16.840.1.113883.3.72.5.24^ISO|R-783274-4^LIS^2.16.840.1.113883.3.72.5.25^ISO|||||||||57422^RADON^NICHOLAS^^^Dr.^^^NPI&2.16.840.1.113883.4.6&ISO^L^^^NPI||^PRN^PH^^^407^2341212|||||||Seminole County Health Clinic|555 Orange Ave^^Oviedo^FL^32765^^B|^WPN^PH^^^813^8847284|555 Orange Ave^^Oviedo^FL^32765^^B

OBR|1|ORD723222-4^^2.16.840.1.113883.3.72.5.24^ISO|R-783274-4^LIS^2.16.840.1.113883.3.72.5.25^ISO|625-4^Bacteria identified in Stool by Culture^LN^3456543^CULTURE STOOL^99USI^2.40|||20110528|||||||||57422^RADON^NICHOLAS^^^Dr.^^^NPI&2.16.840.1.113883.4.6&ISO^L^^^NPI|^PRN^PH^^^407^2341212|||||201106010900-0500|||F

OBX|1|CWE|625-4^Bacteria identified in Stool by Culture^LN^Bacteria identified^Bacteria identified^99USI^2.40|1|85729005^Shigella flexneri^SCT^^^^^^Shigella flexneri||||||F|||20110528|||||20110531130655-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI

OBX|1|CWE|625-4^Bacteria identified in Stool by Culture^LN^Bacteria identified^Bacteria identified^99USI^2.40|2|66543000^Campylobacter jejuni^SCT^^^^^^Campylobacter jejuni||||||F|||20110528|||||20110531130655-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI
SPM|1|^ORD723222-4&&2.16.840.1.113883.3.72.5.24&ISO||119339001^Stool specimen^SCT^^^^07/31/2012|||||||||||||20110528|20110529
OBR|2||R-783274-5^LIS^2.16.840.1.113883.3.72.5.25^ISO|50545-3^Bacterial susceptibility panel in Isolate by Minimum inhibitory concentration (MIC)^LN^Bact suscept^Bacteria susceptibility^99USI^2.40|||20110528|||||||||57422^RADON^NICHOLAS^^^Dr.^^^NPI&2.16.840.1.113883.4.6&ISO^L^^^NPI|^PRN^PH^^^407^2341212|||||201106010900-0500|||F|625-4&Bacteria identified in Stool by Culture&LN&Bacteria identified&Bacteria identified&99USI^1^Shigella flexneri|||^R-783274-4&LIS&2.16.840.1.113883.3.72.5.25&ISO 
OBX|1|SN|20-8^Amoxicillin+Clavulanate [Susceptibility] by Minimum inhibitory concentration (MIC)^LN^AmoxClav^Amoxicillin-clavulanic acid^99USI^2.40||=^16|ug/mL^microgram per milliliter^UCUM^^^^1.8.2||I^Intermediate^HL70078^^^^2.5.1|||F|||20110528|||||201106010900-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI
OBX|2|SN|516-5^Trimethoprim+Sulfamethoxazole [Susceptibility] by Minimum inhibitory concentration (MIC)^LN^TMP-SMX^Trimethoprim-sulfamethoxazole^99USI^2.40||=^8^/^152|ug/mL^microgram per milliliter^UCUM^^^^1.8.2||R^Resistant^HL70078^^^^2.5.1|||F|||20110528|||||201106010900-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI OBX|3|SN|185-9^Ciprofloxacin [Susceptibility] by Minimum inhibitory concentration (MIC)^LN^CIPROFLOXACIN^CIPROFLOXACIN^99USI^2.40||<=^0.06|ug/mL^microgram per milliliter^UCUM^^^^1.8.2||S^Susceptible^HL70078^^^^2.5.1|||F|||20110528|||||201106010900-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI

OBR|2||R-783274-5^LIS^2.16.840.1.113883.3.72.5.25^ISO|50545-3^Bacterial susceptibility panel in Isolate by Minimum inhibitory concentration (MIC)^LN^Bact suscept^Bacteria susceptibility^99USI^2.40|||20110528|||||||||57422^RADON^NICHOLAS^^^Dr.^^^NPI&2.16.840.1.113883.4.6&ISO^L^^^NPI|^PRN^PH^^^407^2341212|||||201106010900-0500|||F|625-4&Bacteria identified in Stool by Culture&LN&Bacteria identified&Bacteria identified&99USI^2^Campylobacter jejuni|||^R-783274-4&LIS&2.16.840.1.113883.3.72.5.25&ISO 
OBX|1|SN|20-8^Amoxicillin+Clavulanate [Susceptibility] by Minimum inhibitory concentration (MIC)^LN^AmoxClav^Amoxicillin-clavulanic acid^99USI^2.40||>=^32|ug/mL^microgram per milliliter^UCUM^^^^1.8.2||R^Resistant^HL70078^^^^2.5.1|||F|||20110528|||||201106010900-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI
OBX|2|SN|516-5^Trimethoprim+Sulfamethoxazole [Susceptibility] by Minimum inhibitory concentration (MIC)^LN^TMP-SMX^Trimethoprim-sulfamethoxazole^99USI^2.40||=^8^/^152|ug/mL^microgram per milliliter^UCUM^^^^1.8.2||R^Resistant^HL70078^^^^2.5.1|||F|||20110528|||||201106010900-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI OBX|3|SN|185-9^Ciprofloxacin [Susceptibility] by Minimum inhibitory concentration (MIC)^LN^CIPROFLOXACIN^CIPROFLOXACIN^99USI^2.40||<=^0.25|ug/mL^microgram per milliliter^UCUM^^^^1.8.2||S^Susceptible^HL70078^^^^2.5.1|||F|||20110528|||||201106010900-0500||||Seminole County Health Department Laboratory^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^XX^^^987|6756 Florida Avenue^^Oveido^FL^32765^^B|10092^Pafford^Hamlin^^^^^^&2.16.840.1.113883.3.72.5.30.1&ISO^L^^^NPI